Norwegian Church Aid Programme-South Sudan

BILLS OF QUANTITIES.

# BOREHOLE DRILLING AND INSTALLATION.

Project: 2  3x6’’ Boreholes Drilling in Gumuruk, Boma -State .

Gumruk County.

## SUMMARY

| Item | Description | Qty | Unit | Rate USD | Amount USD |
| --- | --- | --- | --- | --- | --- |
| A B C D | Bill No. 02 Preliminaries - Refer Bill No. 01. Bore Hole Drilling Works. Hand Pump Set. Visibility (sign Post). | - - |  |  |  |
|  | Summary of Bill Carried to Grand Summary | - |  |  |  |
|  | Total Gross Amount: |  |  |  |  |

Norwegian Church Aid Programme-South Sudan

BILLS OF QUANTITIES.

Project: 1 New Boreholes Drilling and Installation – W/BGL  State.

Greater Gumruk  County.

| Item | Description | Qty | Unit | Rate USD | Amount USD |
| --- | --- | --- | --- | --- | --- |
| B | BORE HOLE DRILLING WORKS |  |  |  |  |
| B.1 | Mobilization of equipment and material. | 02 | Item |  |  |
| B.2 | Site clearance and geophysical surveys | 02 | Item |  |  |
| B.3 | Site clearance and levelling | 02 | Item |  |  |
| B.4 | Setting up the equipment ready to work | 02 | Item |  |  |
| B.5 | Allow for construction of an apron, standing slab, drain and a platform | 02 | Item |  |  |
| B.6 | Drilling of Bore hole. | 02 |  |  |  |
| B.7 | Drilling of 4x8" bit borehole with maximum 200m total depth. | 02 | Item | - |  |
| B.8 | Drilling of 4x8" bit borehole with maximum 200m metres deep from the existing ground level (10-200metres : effective depth of 40metres deep) | 02 | Item |  |  |
| B.9 | Drilling of 4x8" bit borehole with maximum 200m metres deep from the existing ground level ( 50-200metres : effective depth of 20metres deep) | 02 | Item |  |  |
| B.10 | Allow for soil sampling and record keeping as specified in the drilling process of 100m depth . | 02 | Item |  |  |
| B.11 | Supply and install steel uPVC casing 6" in diameter (external diameter) with minimum thickness of 3mm up to 10metres deep from the existing ground level | 02 | Item |  |  |

| Item | Description | Qty | Unit | Rate USD | Amount USD |
| --- | --- | --- | --- | --- | --- |
| B.12 | Supply and install concrete casing of minimal thickness 75mm thick or alternative grouting up to 10metres deep from the existing ground level | 02 | Item | - | - |
| B.13 | Supply and install steel uPVC casing 3x6" in diameter (external diameter) with minimum thickness of 3mm up to 200metres depth | 02 | Item | - | - |
| B.14 | Supply and install filter pack as specified up to a depth of 100m deep below the existing ground level Bore Hole development | 02 | Item | - | - |
| B.15 | Allow for the development of the well using air or water jetting method as recommended by the hydrologist | 02 | Item | - | - |
| B.16 | Allow for water recharge testing for bore hole yield for at least 36 hours including records of the yields at one-hour intervals (The contractor is to provide for power for this process) | 02 | Item | - | - |
| B.17 | Allow for the disinfection of the bore hole as specified in the specs. | 02 | Item | - | - |
| B.18 | Allow for carrying out a water chemical analysis comprising of chemical tests, bacterial and turbidity tests on 2No. samples | 02 | Item | - | - |
| B Borehole Drilling | To summary | - |
| C | HAND PUMP INSTALLATION. |
| C. 1 | Allow the Provisional Sum for the Construction & completion of the pump below the ground level including excavations and disposal all as per Drawings. | 02 | Item | - | - |
| C. 2 | Allow the P.C Sum for the Supply & installation of Water supply India Mark U2-(II) Hand pump set, or equivalent and accessories as approved by the Engineer. | 02 | Item | - | - |
| D | NCA Visibility. Upon the Completion of Drilling and Installation of new bore hole the Contractor Must craft the NCA Name, and Details of the Bore Static level, total depth, Dynamic Level, Coordinates Drilling Date and Drilling Company Details and Contact Informations The Information Must be Clearly Written on One of the Pedestal (Telescopic Pump Stand). Metallic Punch for writing on the Body of the Pedestal with the information given by NCA focal Person and Coloured with Durable All-season Paint with Font Size Not less than 12. |  | Item |  |  |
| GENERAL GRAND TOTAL. |  |