## Sheet1
[9 empty] | Quotation Request No: | Electricals
QUOTATION REQUEST
WE PRACTICE PROCUREMENT WITH INTEGRITY. EMAIL UNETHICAL BEHAVIOR: SouthSudanSealedBid@Samaritan.org FOR CONFIDENTIAL REPORTING.
Category |  | Requested By |  |  |  | Last Date of Submission |  | Contact Number |  | Location
Electricals |  | SP South Sudan |  |  |  | 2018-06-01 |  | Tender Committee |  | Juba
Item # | Item Name | Description/ Part Number | Units/ Packaging | Brand/ Model | Qty | Unit Cost (USD) | Total Cost (USD) | Delivery Lead Time | COMMENTS
1 | Ammeter, 30A analogue ammeter |  | Pcs |  | 100
2 | Battery, 8G4D GEL 183/210AH 12V Solar Battery |  | Pcs |  | 100
3 | Box, 50cm X 50cm X 20cm box |  | Pcs |  | 100
4 | Box, Junction box 150X150X70mm |  | Pcs |  | 100
5 | Boxes, 200mm X 200mm weatherproof boxes |  | Pcs |  | 100
6 | BREAKER, CIRCUIT, double pole, 220/380 V, for DIN rail, 10 A |  | Pcs |  | 1000
7 | BREAKER, CIRCUIT, double pole, 220/380 V, for DIN rail, 16 A |  | Pcs |  | 1000
8 | BREAKER, CIRCUIT, double pole, 220/380 V, for DIN rail, 20 A |  | Pcs |  | 1000
9 | BREAKER, CIRCUIT, single pole, 220 V, for DIN rail, 10 A |  | Pcs |  | 1000
10 | BREAKER, CIRCUIT, single pole, 220 V, for DIN rail, 16 A |  | Pcs |  | 1000
11 | BREAKER, CIRCUIT, single pole, 220 V, for DIN rail, 25 A |  | Pcs |  | 1000
12 | BREAKER, CIRCUIT, single pole, 220 V, for DIN rail, 32 A |  | Pcs |  | 1000
13 | Breaker, RESIDUAL CURRENT CURCUIT BREAKER 40A, 30mA, 2 poles curve AC |  | Pcs |  | 500
14 | BULB HOLDER, pin type |  | Pcs |  | 3000
15 | BULB HOLDER, screw type |  | Pcs |  | 3000
16 | Bulbs , 11W Energy Saving Bulbs - Screw Type |  | Pcs |  | 3000
17 | Bulbs, 18W screw type energy-saving bulbs |  | Pcs |  | 3000
18 | Bulbs, Bulb Holders-Pin |  | Pcs |  | 3000
19 | Bulbs, Bulb Holders-Screw |  | Pcs |  | 3000
20 | Bulbs, Candle |  | Pcs |  | 3000
21 | Bulbs, DC |  | Pcs |  | 3000
22 | Bulbs, Energy saver |  | Pcs |  | 5000
23 | Bulbs, Light Bulbs |  | Pcs |  | 5000
24 | Bulbs, Mercury |  | Pcs |  | 5000
25 | Bulbs, Ordinary |  | Pcs |  | 5000
26 | Busbar |  | Meter |  | 1000
27 | Cable, Rigid, 3 conduct, 2.5mm2, int. use (100m) | 100m | Rolls |  | 10000
28 | Cable, 1.5mm sq. Cable Red/black | 100m | Rolls |  | 10000
29 | Cable, 1.5mm sq. cable red/black | per meter | per meter |  | 10000
30 | Cable, 10mm cable ties |  | Pcs |  | 300
31 | Cable, 10mm sq. 4-core armored cable | 100m | Rolls |  | 10000
32 | Cable, 16-6 cable lugs |  | Pcs |  | 100
33 | Cable, 2.5mm sq. cable red/black | 100m | Rolls |  | 10000
34 | Cable, 2.5mm sq. cable red/black | per meter | per meter |  | 10000
35 | Cable, 2.5mm sq. twin with earth flat cable | per meter | Rolls |  | 10000
36 | Cable, Armoured Cable-10mmSq-4 core | 100m | Rolls |  | 10000
37 | Cable, Armoured Cable-16mmSq-4 core | 100m | Rolls |  | 10000
38 | Cable, Armoured Cable-25mmSq-4 core | 100m | Rolls |  | 10000
39 | Cable, Armoured Cable-35mmSq-4 core | 100m | Rolls |  | 10000
40 | Cable, Armoured Cable-4mmSq-4 core | 100m | Rolls |  | 10000
41 | Cable, Armoured Cable-50mmSq-4 core | 100m | Rolls |  | 10000
42 | Cable, Armoured Cable-6mmSq-4 core | 100m | Rolls |  | 10000
43 | Cable, Armoured Cable-70mmSq-4 core | 100m | Rolls |  | 10000
44 | Cable, EXTENSION, 10m, 3x2.5mm2, EUR plug |  | Meter |  | 150
45 | Cable, EXTENSION, 3m, 4 outlets (16A + Earth), EUR plug |  | Meter |  | 150
46 | Cable, EXTENSION, 3m, 4 outlets (2 x 13A + Earth), UK plug |  | Meter |  | 150
47 | Cable, EXTENSION, REEL, 40m, 3G2.5, 1 fem + 4 male EUR plug |  | Meter |  | 150
48 | Cable, Flat Cable 6mm x 150 metre length (3 x 4mm2) | 100m | Rolls |  | 10000
49 | Cable, Flexible cable-1.5mm sq- 3 core | 100m | Rolls |  | 2000
50 | Cable, Flexible cable-10.0mm sq- 4 core | 100m | Rolls |  | 2000
51 | Cable, Flexible cable-16.0mm sq- 4 core | 100m | Rolls |  | 2000
52 | Cable, Flexible cable-2.5mm sq- 3 core | 100m | Rolls |  | 2000
53 | Cable, Flexible cable-2.5mm sq- 4 core | 100m | Rolls |  | 2000
54 | Cable, Flexible cable-4.0mm sq- 4 core | 100m | Rolls |  | 2000
55 | Cable, Flexible cable-6.0mm sq- 4 core | 100m | Rolls |  | 2000
56 | Cable, flexible, 2 x 2.5mm2, indoor use (roll of 100m) | 100m | Rolls |  | 5000
57 | Cable, flexible, 3 conduct, 1.5mm2, outdoor use (100m) | 100m | Rolls |  | 5000
58 | Cable, flexible, 3 conduct, 2.5mm2, ext. use (100m) | 100m | Rolls |  | 5000
59 | Cable, gland- 25L |  | Pcs |  | 300
60 | Cable, gland- 32L |  | Pcs |  | 300
61 | Cable, gland- 40L |  | Pcs |  | 300
62 | Cable, gland- 50L |  | Pcs |  | 300
63 | Cable, glands |  | Pcs |  | 300
64 | Cable, Metal saddles for the armored cable |  | Pcs |  | 300
65 | Cable, Saddles for the 10mm sq. cable |  | Pcs |  | 300
66 | Cable, Single cable-1.5mmsq | 100m | Rolls |  | 5000
67 | Cable, Single cable-10.0mmsq | 100m | Rolls |  | 5000
68 | Cable, Single cable-16.0mmsq | 100m | Rolls |  | 5000
69 | Cable, Single cable-2.5mmsq | 100m | Rolls |  | 5000
70 | Cable, Single cable-25.0mmsq | 100m | Rolls |  | 5000
71 | Cable, Single cable-35.0mmsq | 100m | Rolls |  | 5000
72 | Cable, Single cable-4.0mmsq | 100m | Rolls |  | 5000
73 | Cable, Single cable-50.0mmsq | 100m | Rolls |  | 5000
74 | Cable, Single cable-6.0mmsq | 100m | Rolls |  | 5000
75 | Cable, STEEL, diam. 6mm, strength 1200 kg. per meter | 100m | Meter |  | 5000
76 | Cable, ties |  | Pcs |  | 100
77 | Cable, Twin Earth Cable-1.5mm sq | 100m | Rolls |  | 5000
78 | Cable, Twin Earth Cable-10.0mm sq | 100m | Rolls |  | 5000
79 | Cable, Twin Earth Cable-16.0mm sq | 100m | Rolls |  | 5000
80 | Cable, Twin Earth Cable-2.5mm sq | 100m | Rolls |  | 5000
81 | Cable, Twin Earth Cable-4.0mm sq | 100m | Rolls |  | 5000
82 | Cable, Twin Earth Cable-6.0mm sq | 100m | Rolls |  | 5000
83 | Cable, twin with earth flat cable 1.5mm sq. | 100m | Rolls |  | 5000
84 | Clips, Tower clips for the 10mm sq. armored cable |  | Pcs |  | 5000
85 | Clips, Tower clips for the 4mm sq. armored cable |  | Pcs |  | 5000
86 | Clips, Push clips |  | Pcs |  | 5000
87 | Clips, Tower clips for the 10mm sq. armored cable |  | Pcs |  | 5000
88 | Clips, Tower clips for the 2.5mm sq. cable |  | Pcs |  | 5000
89 | Conduits, 3/4'' PVC conduits |  | Pcs |  | 5000
90 | Conduits, 3/4" PVC elbows |  | Pcs |  | 5000
91 | Conduits, 3/4" PVC unions |  | Pcs |  | 5000
92 | Conduits, Flexible conduits 3/4" PVC |  | Pcs |  | 5000
93 | Conduits, PVC conduits box (4way) |  | Pcs |  | 5000
94 | Conduits, CABLE, flexible, 25mm, PVC, (x25m) |  | Meter |  | 10000
95 | Conduits, CABLE, rigid, 16mm, PVC, (ONE PIECE OF 4M) |  | Meter |  | 10000
96 | Connectors, 30A strip connectors |  | Pcs |  | 5000
97 | Connectors, 60Amp strip connectors |  | Pcs |  | 5000
98 | Connectors, Strip Connectors-60A |  | Pcs |  | 5000
99 | Consumer Unit-12 way |  | Pcs |  | 5000
100 | Consumer Unit-4 way |  | Pcs |  | 5000
101 | Consumer Unit-6 way |  | Pcs |  | 5000
102 | Consumer Unit-8 way |  | Pcs |  | 5000
103 | Couplers-20mm |  | Pcs |  | 5000
104 | Couplers-25mm |  | Pcs |  | 5000
105 | Couplers-32mm |  | Pcs |  | 5000
106 | Couplers-38mm |  | Pcs |  | 5000
107 | Couplers-50mm |  | Pcs |  | 5000
108 | Coupling, SOCKET COUPLING 2" ND50, Threaded fem x 2, galva |  | Pcs |  | 5000
109 | Coupling, SOCKET COUPLING 3/4" ND19, Thread FF, galva |  | Pcs |  | 5000
110 | Coupling, Socket coupling, 1/2", galva, FF |  | Pcs |  | 5000
111 | Covers for PVC Junction Boxes |  | Pcs |  | 200
112 | DIN rail , 16mm sq. DIN rail mount terminal block |  | Pcs |  | 200
113 | DIN-rail mount, 10Amp single pole DIN-rail mount MCCBs |  | Pcs |  | 200
114 | DIN-rail, 15Amp single pole DIN-rail mount MCCBs |  | Pcs |  | 200
115 | DIN-rail, 30Amp single pole DIN-rail mount MCCBs |  | Pcs |  | 200
116 | DIN-rail, 6Amp single pole DIN-rail mount MCCBs |  | Pcs |  | 200
117 | Distribution Board-12 way |  | Pcs |  | 100
118 | Distribution Board-4 way |  | Pcs |  | 100
119 | Distribution Board-6 way |  | Pcs |  | 100
120 | Distribution Board-8 way |  | Pcs |  | 100
121 | Double outlets 13A |  | Pcs |  | 100
122 | Earthrod-4ft |  | Pcs |  | 100
123 | Earthrod-5ft |  | Pcs |  | 100
124 | Earthrod-pure copper |  | Pcs |  | 100
125 | Floodlights, 30W LED floodlights |  | Pcs |  | 500
126 | Florescents, Florescent Tube fitting-2 Feet |  | Pcs |  | 500
127 | Florescents, Florescent Tube fitting-4 Feet |  | Pcs |  | 500
128 | Florescents, Florescent Tube-2 Feet |  | Pcs |  | 500
129 | Florescents, Florescent Tube-4 Feet |  | Pcs |  | 500
130 | Florescents, Florescents Lamp (tube) 2 fts |  | Pcs |  | 500
131 | Florescents, Florescents,Lamp (tube) 4 fts |  | Pcs |  | 500
132 | Florescents, Holder, (floreschent tube), 2 fts |  | Pcs |  | 500
133 | Florescents, Holder, (floreschent tube), 4 fts |  | Pcs |  | 500
134 | Florescents, Starter tube flourescent |  | Pcs |  | 500
135 | Fuse, fork, US Type, 20 A |  | Pcs |  | 3000
136 | Fuse, fork, US Type, 15 A |  | Pcs |  | 3000
137 | Fuse, fork, US Type, 30 A |  | Pcs |  | 3000
138 | Fuse, fork, US Type, 5 A |  | Pcs |  | 3000
139 | Fuse, fork, US Type, 7.5 A |  | Pcs |  | 3000
140 | Generator, 5.5Kva SH7600 Elemax Generator |  | Pcs |  | 15
141 | Indicator, Green LED indicator |  | Pcs |  | 150
142 | Iron Box, Black and Decker Iron Box |  | Pcs |  | 50
143 | Lightenning Arrester pure copper |  | Pcs |  | 200
144 | MCB-16A |  | Pcs |  | 100
145 | MCB-32A |  | Pcs |  | 100
146 | MCB-6A |  | Pcs |  | 100
147 | Nail, Pin/Nail Plugs |  | Pcs |  | 500
148 | Nails, Concrete Nails-1 1/2' |  | Kg |  | 3000
149 | Nails, Concrete Nails-1" |  | Kg |  | 3000
150 | Nails, Concrete Nails-2" |  | Kg |  | 3000
151 | Nails, Concrete Nails-3" |  | Kg |  | 3000
152 | Nails, Concrete Nails-4" |  | Kg |  | 3000
153 | Neutral bar |  | Pcs |  | 100
154 | Outlets, Single outlets 13A |  | Pcs |  | 100
155 | Partress, double |  | Pcs |  | 100
156 | Patresses, Double deep patresses |  | Pcs |  | 100
157 | Patresses, Single deep patresses |  | Pcs |  | 100
158 | Pattress, single |  | p |  | 100
159 | Pattresses, Single Pattresses |  | Pcs |  | 100
160 | Plugs, Adaptor, universal, 13A, male UK /female US+FR+EUR |  | Pcs |  | 500
161 | Plugs, male, rubber, (16 A +earth) EUR std |  | Pcs |  | 500
162 | Plugs, plastic for 6 diam screw 3.5 to 5 mm (x100) |  | Pcs |  | 500
163 | Plugs, 5-pin industrial plugs |  | Pcs |  | 100
164 | Plugs, Adaptor, universal male, UK+US+FR, /female Eur (10p) |  | Pcs |  | 500
165 | Plugs, plastic for 6 diam screw 4.5 to 6 mm (x100) |  | Pcs |  | 500
166 | Plugs, plastic, for 2 to 8 mm screws, 1000 unts, set |  | Pcs |  | 500
167 | Plugs, plastic, for 5 diam screw, unt |  | Pcs |  | 500
168 | Plugs, plastic, for 8 mm screws, sachet |  | Pcs |  | 500
169 | Plugs, Wall plugs |  | Pkts |  | 500
170 | Power Inverters- 1000W |  | Pcs |  | 100
171 | Power Inverters- 1500W |  | Pcs |  | 100
172 | Power Inverters- 300W |  | Pcs |  | 100
173 | Power Inverters- 600W |  | Pcs |  | 100
174 | Power Inverters- 800W |  | Pcs |  | 100
175 | Power Stabilizer-1000W |  | Pcs |  | 100
176 | Power Stabilizer-1500W |  | Pcs |  | 100
177 | Power Stabilizer-2000W |  | Pcs |  | 100
178 | Power Stabilizer-500W |  | Pcs |  | 100
179 | Red LED indicator |  | Pcs |  | 100
180 | Screw, Straight screw-type bulb holders |  | Pkts |  | 500
181 | Screws, 2 inch self tapping screws |  | Pkts |  | 500
182 | Screws, 40mm fine thread screws |  | Pkts |  | 500
183 | Service to Convert from 3 Phase to 1 Phase |  | Pcs |  | 500
184 | Silicon, clear silicon rubber |  | Pcs |  | 100
185 | Silicon, Silicon rubber tubes |  | Pcs |  | 100
186 | Smoke Detector |  | Pcs |  | 100
187 | Sockets, WALL, double, (2x16 A + earth) UK std (x5p) |  | Pcs |  | 500
188 | Sockets, female, rubber (16A + earth) FR std |  | Pcs |  | 500
189 | Sockets, FLUSH, single (2 x 16 A + Earth) EUR std |  | Pcs |  | 500
190 | Sockets, Industrial sockets for 5-pin plugs |  | Pcs |  | 500
191 | Sockets, Light Sockets |  | Pcs |  | 500
192 | Sockets, Twin 13A socket |  | Pcs |  | 500
193 | Sockets, WALL, single, (2x16 A + earth) UK std (x10p) |  | Pcs |  | 500
194 | Splicing kit- 11mm |  | Kit |  | 100
195 | Splicing kit- 11mm WATERPROOF |  | Kit |  | 100
196 | Splicing kit- 12mm |  | Kit |  | 100
197 | Splicing kit- 12mm WATERPROOF |  | Kit |  | 100
198 | Stand, 1.5m stand for the box |  | Pcs |  | 100
199 | Switch, 1 gang 1 way |  | Pcs |  | 500
200 | Switch, 1 gang 1 way waterproof switch |  | Pcs |  | 500
201 | Switch, 1 gang 2 way |  | Pcs |  | 500
202 | Switch, 1 gang 3 way |  | Pcs |  | 500
203 | Switch, 4-pole 100A change over switch |  | Pcs |  | 500
204 | Switch, Change Over switch-100A |  | Pcs |  | 500
205 | Switch, Change Over switch-250A |  | Pcs |  | 500
206 | Switch, Change Over switch-32A |  | Pcs |  | 500
207 | Switch, Change Over switch632A |  | Pcs |  | 500
208 | Switch, CHANGEOVER, 1P+E, 63A, Pr. Generat. Mono <15kA |  | Pcs |  | 500
209 | Switch, I-gang 4 way |  | Pcs |  | 500
210 | Switch, Isolator Switch-100A |  | Pcs |  | 500
211 | Switch, Switch ON/OFF (x10p) |  | Pcs |  | 500
212 | Switch, Switchboard with 5 circuit breakers 6WAY |  | Pcs |  | 500
213 | Switch,Isolator Switch-20A |  | Pcs |  | 500
214 | Switch,Isolator Switch-32A |  | Pcs |  | 500
215 | Switch,Isolator Switch-63A |  | Pcs |  | 500
216 | Switches, Water heater switches with indicator |  | Pcs |  | 500
217 | TAPE Insulating tape (3 red, 3 black) |  | Pcs |  | 1000
218 | Tape, Insulating tape |  | Pcs |  | 1000
219 | Terminal block, 16mm sq. terminal block end covers |  | Pcs |  | 100
220 | Trunking-16x16 |  | Length |  | 100
221 | Trunking-16x25 |  | Length |  | 100
222 | Trunking-25x40 |  | Length |  | 100
223 | Voltage Regulator |  | Pcs |  | 100
224 | Water Cooler (nikai) |  | Pcs |  | 100
225
226
TOTAL
[6 empty] | Currency | USD
| Please Include: |  |  |  |  | Delivery Lead Time
| - | Item Details (brand, model, etc.) |  |  |  | Delivery Terms:
| - | Product Availability |  |  |  | Payment Terms
| - | Unit Price and Total Amount after Discount |  |  |  | Quotation Validity:
| - | Terms of Payment |  |  |  | Stamp:
| - | Delivery Lead Time
Terms of Delivery (e.g. delivered within Juba)
| - | Quote Validity (e.g. 12 Months)
Company Name:
Contact Name:
Address:
Cell Phone:
| Email: |  |  |  |  | Authorized By: name and sign |  |  |  | Date