## Sheet1
Annex F PRICING PROPOSAL -Solar System & Electronic Parts
Line Item | Description of Goods | Item Specification/ Details | Unit | QTY | Unit Cost (USD) | Brand | Country of Origin
1 | Cable | Flat blue submerssible 4.0mm | Meters | 1
2 | Cable | Flexable cable 6.0mm | Meters | 1
3 | Cell pack | cable joining kit | pcs | 1
4 | Lightning Arresters | copper(RS 1000) | pcs | 1
5 | Breakers | 3 phase 16A-100A | pcs | 1
6 | Insulation tapes | Red, yellow,blue &yellow green | pcs | 1
7 | Invereter | RSI0100-3L-0061-4-x+HMGR/3P AC380-480 30KW | pc | 1
8 | Invereter | LORENZ 11KW 800VDC | pcs | 1
9 | Invereter | RSI 7.5kw 800VDC | pcs | 1
10 | Invereter | 3kw 48DVC victron energy | pcs | 1
11 | Solar panels | 24VDC 335watts | pcs | 1
12 | cable ties | 200mm*4.8mm | packets | 1
13 | PV disconnect | 63 A | pcs | 1
14 | Crimping tool | 10mm-120mm | pcs | 1
15 | Cable lags | 10mm-120mm | packets | 1
16 | Electrical tool box | WIHA 42069 tool case electric 115 pcs reichelt electronik | box | 1
17 | Solar Batteries | Lithium Battery | Pcs | 1
18 | Breaker ABB | Circuit breaker ABB | pcs | 1
19 | Electrical distribution box | Distribution box | pcs | 1
20 | Solar charger Controller | 12v/24 - 10A | pcs | 1
21 | changeover switch | change over switch Type Havell (2 ways connection plus common) 63A | pcs | 1
|  | Total Cost |  |  | 0