## Sheet1
Annex E Terms of Reference (TOR) for Generator Spare Parts
Line Item | Description of Goods | Item Specification/ Details | Unit | Unit Cost (USD) | Country of orgin
1 | Engine oil | SAE 15-40(perkins) | Liter
2 | Fuel filter | part no( 26561117)Perkins | pcs
3 | Oil filter | part no( 140517050)Perkins | pcs
4 | Hand priming pump | Perkins(rubber vaccum fuel transfer) | pcs
5 | Selnoid valve | part no( U85206452)Perkins | pcs
6 | Fuel injector pump | 4 cylinder(perkins) | pcs
7 | Fuel injector pump | 3 cylinder(perkins) | pcs
8 | Water pump | 15kva/18kva | pcs
9 | Generator starter | 15/18kva(perkins) | pcs
10 | WD 40 | Rust remover | pcs
11 | AVR | R120 | pcs
12 | AVR | R250(PG36658Q2/L | pcs
13 | AVR for lister petter SX460 | SA11301487 | pcs
14 | Radiator hose pipe | 15/18kva(perkins) | pcs
15 | Battery terminals | Perkins | set
16 | Injector nozzles | 15/18 KVA | pcs
17 | Power wizard | 18KVA (olumphian) | pcs
18 | Alternator charger | 12V 65A (perkins) | pcs
19 | 18KVA brushless AC alternator | Stamford/perkins | pcs
20 | Fan belt | 15KVA | pcs
21 | Fan belt | 18KVA | pcs
22 | crankshaft front seal | Part No. 198636170 | pcs
23 | Crank shaft Rear oil seal | Part No. 50209083 | pcs
24 | Crankshaft main bearings | Perkins 4 cylinder | pcs
25 | Engine head gasket | Perkins 4 cylinder | pcs
26 | Engine head gasket | Perkins 3 cylinder | pcs
27 | Piston rings | Perkins 4 cylinder | pcs
28 | Piston rings | Perkins 3 cylinder | pcs
29 | Multimeter | fluke 115 digital | pcs
30 | Rectifier diodes | Perkins(330-25777 | pcs
31 | Rectifier diodes | Lister peter(MXY 25-12) | pcs
32 | Grinding disc | small size(1500mm*1227mm) | pcs
33 | Grinding disc | Big size(115*1.0mm*22.23mm) | pcs
34 | Drill bits | Stainless/cast iron (1.5mm-15mm) | set
35 | Safety boots | 42,42,45,44,43 | pairs
36 | step drill bits | 1mm-25mm | set
37 | Turbocharger | Turbocharger (26744431) | pcs
38 | Wizzard | Generator mileage | pcs
39 | Relay | 230 AC | pcs
40 | steel | Piston Rings | pcs
41 | Silicon tube | Tube glue | pcs
42 | Main Bearing set | Perkins main bearing | set
43 | Oil seal (8636150) | 8636150 | pcs
44 | Engine vibration mount | Vibration mounts | pcs
45 | water pump -perkins 3/4 cylinder | perkins 3/4 cylinder | pcs
|  | Total Cost |  | 0