## Dem Zubeir BH upgrading
Estimate for Solarization of Borehole, extension of water pipeline and Construction of water collection points at three communities in Deim Zubier in Western Bahr Al Gazal State
S/n | Describtion | Unit | Qantity | Unit rate (USD) | Amount (USD)
1 | Site preparation, setting out , cleaning mobilization and demolization
1.01 | Pre- construction, survey and cleaning of the top soil 20 cm depth | L-S | 1
Sub-Total 1
2 | Earth works
2.01 | Excavate in ordinary soil for foundation footing,pipe lines and aprone for the drinking water points | Cu-m | 104.4
2.02 | Backfill and well compacted with marrum surround all foundation, footings and at the water collections points | Cu-m | 14
Sub-Total 2
3 | Concrete, rebar and construction works
3.01 | Cast a concrete M15 grade for the footing base,Short column,(40x40cm) beam, floor slab at (10cm thickness) for the water tower,water Collection point and its apron at (10cm thickness) and at the bottom of the chain link fence 30x30cm including all the formworks | Cu-m | 9.784
3.02 | High tensile steel bars (12mm and 8mm) including cutting bending tying,hooking and fixing. 14No.Y12@15cm c'c for basement and cloumn 8NoY12@15cm c'c per column and beam 8NoY12@15C'C | Kg | 131.74
3.03 | Install a set of dia. 20mm anchor bolts (4pcs) and a metal plate (35x35cm & 10 mm thick) accurately in position for the steel tower columns complete with all its necessary accessories | Set | 4
3.04 | Supply A142 BRC mesh to reforce the concreting floor at the eleveted water tower and drinking water points | Sq. m | 64
Sub- Total 3
4 | Installation of the metallic Structures and the stroage Tank Segments
4.01 | Mounting,fabrication and Painting(Silver) of Metal memebers for Water Tower. Refer and follow Teachnical Specification, Scope of work and approved work Drawings | L-S | 1
4.02 | Supply and place plastic water storage of 5,000 liters on metallic Tower considering acesses for inlet, outlet, washout and overflow ST access in the tank will be designed in supervision of the site engineer | L-S | 1
4.03 | Mounting fabricate and painting(Black) 25cm width as floor trap at the drinking water point using RHS 30X30X3mm and Y12 bar | M | 7.5
4.04 | Construction an aprone wall at 0.5 hight and waste water channel using large concrete retaining blocks at three water collection points | Sq. m | 24
4.05 | Fabricate and Install a metal catladder and handrail to reach the plateform as specs | L-S | 1
4.06 | Supply and install a 3/4 standard GI water distribution kits ( with 4 taps stands) at the three water collection point | L-S | 1
Sub- Total 4
5 | Piping, water distribution network, taps work
5.01 | Supply and installation of (HDPE flexible) PE 100 pipe OD63 PN10 wall thickness 5.8mm as a riser from the pump to surface including all necessary fittings with consideration of turdity is less than 5 | M | 40
5.02 | Supply and installation of UPVC pipe (2.0)as a riser(column)from the ground surface to eleveted water Storage Tank including all necessary fittings for inlet and outlet | M | 12
5.03 | Supply and lay (HDPE flexible) PE 100 pipe OD63 PN10 wall thicks 3mm (1.0)as main distribution line with a value at the joint which leads to the three community water point and washout access and other neccessay requirements at an adverage depth of 50cm | M | 500
5.04 | Provide and installation a flaghed gate valve for outlet,flush out, inlet acess together with Non return valve for inlets, Contol value at the three water points and control value at the main distribution joint | Pcs | 5
Sub -Total 5
6 | electrical works (Solar) and water pump installation
6.01 | Supply and install solar grundfos submersible pump SQ 2.5- 2 capacity well head protection (Surge protection) with water level(sense connected to tank from the controller), and compatible pump controller cu- 200 (well protected )and Level switch in the tank to regulate pumping including all necessay requirements. | L-S | 1
6.02 | Supply and install PV solar panel of 335 watts welded on (30x30x3mm)angle bar on the top of the water tank unsing 4mm electrical flate cable from the solar to the pump | pcs | 4
6.03 | Supply and install thunder arrester on the water tower | L-S | 1
Sub-Total 6
7 | Fencing of the water Tower and the three community water points
7.01 | Fabricate and plot in concrete hollow section bar of (40x40x4mm) paninted (Black)at the hieght of 2.5m@2c'c and sheltered with chain link wire and 4 entry gates at 1.0m single shutter using Hollow section metal of No.40x40x4mm including all necessary requirements i.e locks the chain fence is babared at the top three rounds and the tightening wire rounded four times | M | 16
7.02 | Supply and erect welded wire fence at 7ft height for the taps stands using 40x40x4mm hollow section considering 1.0m entry gate with a lock from the same material as describe in the drawing | M | 36
7.02 | Supply and levelling of coast aggregate inside the fence at the thickness of 10cmm for the water tower | Cu-m | 4.5
Sub-Total 7
Grand Total

## PHCC
Estimation for the Optimization of Solar Yard at PHCC in Deim Zubier
S/n | Describtion | Unit | Qantity | Unit rate (USD) | Amount (USD)
1 | supply and installation of Solar Panel
1.01 | Supply and install PV solar panel of 335 watts welded ona fabricated angle bar of (30x30x3mm) and then connect to the existing water pump and allow the avaliable solar remains for lightening purpose | L-S | 4
Sub-Total 1
2 | Construction of water tap stand and its piping
2.01 | Excavate, lay water pipe in a trench with an adverage depth of 50 cm @ 40cm width for the water tap water stand and removal of the top soil | Sq.m | 10
2.02 | Supply (HDPE flexible) PE 100 pipe OD63 PN10 wall thicks 3mm (1.0)as with all its neccessay requirements i.e Joints and Control valve for each tap stands | M | 50
2.03 | Supply and install a 3/4 standard GI water distribution kits ( with 4 taps stands) | set | 2
2.04 | Construction an aprone wall at 0.5 hight and waste water channel using large concrete retaining blocks at separate tap stands | Sq.m | 14
2.05 | Cast a concrete M15 grade been reiforce with Y12 mesh at 15cm spacing for the floor slab at (15cm thickness) for the two separete tap stands including all the formworks | Cu-m | 4
2.06 | Supply and erect welded wire fence at 7ft height for the taps stands using 40x40x4mm hollow section considering 1.0m entry gate with a lock from the same material as describe in the drawing | M | 24
Sub-Total 2
Grand Total