

Franklin Graham *President*

**REQUEST FOR QUOTE NOTICE**

**Deadline for submission of bids Nov 15th 2023**

From: Samaritan’s Purse.

South Sudan, Hai Cinema next to

Quality Hotel, Old Juba Town Road.

E-mail: SouthSudanSealedBid@samaritan.org

 **Date: Nov 8th 2023**

**Subject:** **PR SFWJB20230135 & PR SFWJB2023137 Water yard System Materials**

Samaritan’s Purse wishes to contract a legally recognized service provider (company) for the supply of **Water yard System Materials** as per listed items and quantities below.

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| **Item#** | **Qty** | **Unit of Measurement** | **Item Description** | **Unit Cost (USD)** | **Total Cost (USD)** |  **Remarks**  |
| 1 | 25 | Pc | Angle Bars 4mm, 30x30mm, 6m |   | 0.00 |   |
| 2 | 247 | Pc | Angle Bars 4mm, 50x50mm, 6m  |   | 0.00 |   |
| 3 | 75 | Pc | Angle Bars 75x75x6mm, 6m |   | 0.00 |   |
| 4 | 30 | Pc | Brush 3'' |   | 0.00 |   |
| 5 | 40 | Pc | Brush 4'' |   | 0.00 |   |
| 6 | 30 | Pc | Bush hinges 4''/100mm Heavy Duty |   | 0.00 |   |
| 7 | 5 | Pkt | Cable clips 4mm² |   | 0.00 |   |
| 8 | 5 | Pkt | Cable ties 8mmx150mm |   | 0.00 |   |
| 9 | 160 | Bags | Cement, Portland 50 Kg |   | 0.00 |   |
| 10 | 10 | Roll | Chain Link G12.5, 18x2M, 50x50mm |   | 0.00 |   |
| 11 | 5 | Pc | Circuit Breaker, 6 Ways Panel Box |   | 0.00 |   |
| 12 | 5 | Pc | Cross joint 1'' GI |   | 0.00 |   |
| 13 | 95 | Pc | Cutting Discs 3mm, 230mm diameter |   | 0.00 |   |
| 14 | 15 | Pc | Door hinge 4'' Heavy Duty |   | 0.00 |   |
| 15 | 10 | Pc | Drain/Gate valve, brass coated 2'', GI |   | 0.00 |   |
| 16 | 5 | Pc | Earthing Rod 1.2m, Copper with 10M Copper Wire |   | 0.00 |   |
| 17 | 10 | Pc | Elbow 1¼'', GI Female threaded |   | 0.00 |   |
| 18 | 10 | Pc | Facia board, Metallic 9'' x 1'', 6M long |   | 0.00 |   |
| 19 | 5 | Pkt | Filo Foam |   | 0.00 |   |
| 20 | 5 | Roll | Float switch connecting cable cable 50m |   | 0.00 |   |
| 21 | 40 | Pc | GI Reducing Socket 1''- ¾'' |   | 0.00 |   |
| 22 | 55 | Tin | Grey oil Paint 4 Liter |   | 0.00 |   |
| 23 | 5 | Pc | Grundfos CU200 Pump contoller |   | 0.00 |   |
| 24 | 2 | Pc | Grundfos SQF 2.5-2'' Submersible pump |   | 0.00 |   |
| 25 | 3 | Pc | Grundfos SQF 2-1.5" Submersible pump |   | 0.00 |   |
| 26 | 5 | Pc | Grundfos SQFlex float switch |   | 0.00 |   |
| 27 | 5 | Roll | Grundfos submersible drop cable, 100m |   | 0.00 |   |
| 28 | 35 | Roll | HDPE Pipe 2'', 100m |   | 0.00 |   |
| 29 | 20 | Pc | HDPE, Compression Elbow 1'' |   | 0.00 |   |
| 30 | 10 | Pc | HDPE, Compression elbow 2'' |   | 0.00 |   |
| 31 | 5 | Pc | HDPE, Compression Pipe 1'' 100m |   | 0.00 |   |
| 32 | 20 | Pc | HDPE, Compression Reducer 2'' - 1'' |   | 0.00 |   |
| 33 | 20 | Pc | HDPE, Compression Socket 1'' |   | 0.00 |   |
| 34 | 10 | Pc | HDPE, Compression Socket 2'' |   | 0.00 |   |
| 35 | 10 | Pc | HDPE, Compression Tee 2'' |   | 0.00 |   |
| 36 | 5 | Pc | HDPE, Compression, Tee Reducer 2''/2''-1'' |   | 0.00 |   |
| 37 | 20 | Pc | HPDE, Compression adator 2'', Male threaded |   | 0.00 |   |
| 38 | 90 | Pc | Iron Sheets G28, 3M Blue in color |   | 0.00 |   |
| 39 | 5 | Pkt | MC4, 4mm², 10M with single Female Plug |   | 0.00 |   |
| 40 | 30 | Pc | MS Plate 2mm, 244x122cm |   | 0.00 |   |
| 41 | 10 | Pc | MS, H Beam 140x73x6mm, 6M |   | 0.00 |   |
| 42 | 40 | Pc | Nipple 1'' GI |   | 0.00 |   |
| 43 | 5 | Pc | Nipple, long male threaded 1¼'' |   | 0.00 |   |
| 44 | 5 | Pc | Non Return Valve 1¼''  |   | 0.00 |   |
| 45 | 5 | Roll | Nylon twisted rope 12mm, 100m  |   | 0.00 |   |
| 46 | 5 | Tin | Oil can, 500ml |   | 0.00 |   |
| 47 | 2 | Pc | Pad Bolt Heavy Duty |   | 0.00 |   |
| 48 | 5 | Pc | Pad Bolts 12'' Heavy Duty |   | 0.00 |   |
| 49 | 7 | Pc | Pad Lock, Heavy Duty |   | 0.00 |   |
| 50 | 10 | Pc | Pipe, GI 1'' , 6M |   | 0.00 |   |
| 51 | 8 | Roll | Plain, round strand wire 4/5mm, 15 Kg |   | 0.00 |   |
| 52 | 110 | Pc | Pump Riser Pump 1¼'', 3m  |   | 0.00 |   |
| 53 | 5 | Pc | PVC, Nipple, Male long threaded 2'' |   | 0.00 |   |
| 54 | 5 | Tin | PVC,Glue 45g |   | 0.00 |   |
| 55 | 65 | Tin | Red Oxide 4 Liters |   | 0.00 |   |
| 56 | 30 | Pc | RHS, Tube 40x40x3mm, 6M |   | 0.00 |   |
| 57 | 125 | Pc | RHS, Tube 80x40x3mm, 6M |   | 0.00 |   |
| 58 | 160 | Pc | Self tapping screws (2'') |   | 0.00 |   |
| 59 | 1250 | Pc | Self tapping screws 25mm (1'') |   | 0.00 |   |
| 60 | 30 | Pc | SHS, Tube 90x90x3mm, 6m |   | 0.00 |   |
| 61 | 5 | Pc | Socket 1¼'', GI Female threaded |   | 0.00 |   |
| 62 | 2 | Pc | Solar inverter for Valve Regulated Lead-Acid Batteries 24V |   | 0.00 |   |
| 63 | 9 | Pc | Solar Panel 228x115.5cm, 550W |   | 0.00 |   |
| 64 | 20 | Pc | Tee 1'' GI |   | 0.00 |   |
| 65 | 80 | Roll | Teflon Tapes |   | 0.00 |   |
| 66 | 35 | Liter | Thinner, 1 Liter |   | 0.00 |   |
| 67 | 5 | Pc | Tower Bolts 6'' |   | 0.00 |   |
| 68 | 15 | Pc | Tower Bolts 8'' (200mm) Heavy Duy |   | 0.00 |   |
| 69 | 25 | Pc | uPVC Riser Pipes 1¼'', 3m |   | 0.00 |   |
| 70 | 8 | Pc | Valve Regulated Sealed Lead-Acid Batteries, SP-12-200D 24V  |   | 0.00 |   |
| 71 | 5 | Pc | Water flow meter 1¼'' + fittings |   | 0.00 |   |
| 72 | 19 | Pc | Water Tank 5000 L |   | 0.00 |   |
| 73 | 12 | Pc | Water taps ¾'' for pad locking system |   | 0.00 |   |
| 74 | 15 | Pc | Welded Mesh G12.5, 2.44x1.22m |  | 0.00 |  |
| 75 | 60 | Pkt | Welding Rods 2.5mm, 300mm, 50-90Amp |  | 0.00 |  |
| 76 | 5 | Pc | Well cover plate 10mm  |  | 0.00 |  |
| 77 | 10 | Pc | Wire brush |  | 0.00 |  |
| 78 | 6 | Pc | Yingli Solar Panel 228x115.5cm, 550W |  | 0.00 |  |

**Manner of Submission:**

Please submit your tender in accordance with the requirements detailed below,

Either

**By hand delivery** to Samaritan’s Purse Juba office, HAI CINEMA NEXT TO QUALITY HOTEL, JUBA TOWN ROAD in sealed enveloped clearly marked **PR SFWJB20230135 & PR SFWJB2023137 Water yard System Materials**

OR

**By Email to the following address (Tender committee email):** **SouthSudanSealedBid@samaritan.org** with formal bid & additional supporting documentation indicated below. The subject line should be **PR SFWJB20230135 & PR SFWJB2023137 Water yard System Materials**

**Sealing and Marking of Bids**

The Bidder shall enclose the bid in a plain envelope securely sealed, the envelope shall:

* Be addressed to the tender committee (see above e-mail address), Juba office.
* Bear the bid reference number **PR SFWJB20230135 & PR SFWJB2023137 Water yard System Materials** as the subject of the bid.
* No other markings should be on the envelope.
* The bidder will drop the envelope into a tender box at the Samaritan’s Purse office reception and shall register the company and name of the person dropping the envelope. If all envelopes are not sealed and marked as required, the tender committee will reject the bid during the review time.

**Bidders with questions regarding this notice should send them in writing to the email address:**

Copying SouthSudanSealedBid@samaritan.org Responses will be shared through the same email address.

**Your bid should clearly indicate the following:**

* Detailed specifications (if different from stipulated specifications):
* Limitations.
* Mode of payment, terms & conditions.

**Bid Disqualification Criteria:**

* Any Supplier that fails to attach the following documentation with bid will be subjected to disqualification immediately;
1. Copy of valid tax clearance certificate.
2. Copy of company incorporation certificate (Renewed). **Make sure to submit both sides & stamped.**
3. The bid should have at least 3 months’ quote validity with clear delivery lead time.
4. The currency of offer should be USD with clear payment terms.
5. Sign and stamp Samaritan’s Purse **tender code of conduct** and return it alongside quotations.
6. Copy of a minimum of three purchase orders or contracts with stamp and acknowledgment that reflect delivering the same category of **WASH items** to other organizations since 2019 – 2022.

**Conditions of bidding:**

* Payment terms will be within 15-30 business days after receipt of goods and invoice, by Electronic bank transfer/checks.
* Business Contact details including President/Owners of the company.
* Samaritan’s Purse is not subject to VAT; therefore, all offers should be exclusive of VAT costs.
* NB: **No tender documents are to be requested from the office**. You only need to submit your quotation as instructed above.
* Should be legally registered company.
* With a track record or experience in **WASH items.**
* Ability and capacity to supply the specified work to Samaritan’s Purse Juba office SP field Office.
* If submitting in an EMAIL format, **only** bids submitted **solely** to **SouthSudanSealedBid@samaritan.org**will be accepted.
	+ Emailed Bids will be subjected to REJECTION if:
		- Another Samaritan’s Purse email is in copy
		- Submitted separately to any other party.
		- Any coercive behaviour is suspected.
		- Failure to meet selection criteria indicated below (Marked Red)

**Terms & Conditions:**

* SAMARITAN’S PURSE accepts no responsibility and is under no obligation to reimburse applicants for the costs associated with preparation of their applications;
* Time of delivery of service is very important; the service provider should therefore indicate a reasonable time for supply upon receiving of Purchase Order (PO) otherwise delay penalties will be strictly implemented and no time extension would be granted unless for reasons beyond the contractor’s control.
* SAMARITAN’S PURSE reserves the right to award the most qualified service provider (contractor) regardless of the lowest price submitted;
* SAMARITAN’S PURSE reserves the right to award to more than one bidder or to reject all applicants and cancel the solicitation at any time.

Hai Cinema next to Quality Hotel

Juba, South Sudan

*"All we have comes from God and we give it out of His hand.”*

- 1 Chronicles 29:14b, Dutch Paraphrase

[www.samaritanspurse.org](http://www.samaritanspurse.org/)