## Sheet1 (hidden)
List of requirements for WHO Log-term Agreement (LTA) printing services in South Sudan.
Serial No. | Description | UOM | Quantity | DELIVERY - lead time | Unit price in NBD
PERIOD (in days after receipt of order)
1 | A2 posters with strip gumming | Each | 01 to 200
| Full color, one side printing,135gsm art paper, glossy lamination, at the back of poster 3-inch strip gumming both on top and bottom |  | 201-400
401 and more
2 | A2 posters | Each | 01 to 200
| Full color, one side printing, 135gsm art paper, glossy lamination |  | 201-400
401 and more
3 | A2 Posters | Each | 01 to 99
| Vinyl gloss paper - white background with blue WHO logo or another donor logo or flag. Size A1 (poster size) |  | 100 - 299
300 - 500
4 | A1 posters | Each | 01 to 200
| Full color, PVC with metal rings in 4 corners, one side printing |  | 201-400
401 and
more
5 | A1 Posters | Each | 01 to 99
| Vinyl gloss paper - white background with blue WHO logo or another donor logo or flag. Size A1 (poster size) |  | 100 - 299
300 - 500
6 | A4 Posters | Each | 01 to 99
| Vinyl gloss paper - white background with blue WHO logo o or another donor logo or flag. Size A1 (poster size) |  | 100 - 299
300 - 500
7 | Banner (3m x 1.5m) | Each | 01 to 40
| Full color, PVC with metal rings in 4 corners, one side printing |  | 41 to 100
100 and more
8 | PVC sheet (3m x 3m) | Each | 01 to 40
| Full color, PVC with metal rings in 4 corners, one side printing |  | 41 to 100
100 and more
9 | Roll-up Banner | Each | 01 to 19
20 - 100
100 and above
10 | Banner (2m x 1m) | Each | 01 to 49
| with WHO logo and donor logo (full color) |  | 50 - 99
100 to 300
11 | Banner (3m x 1.5m) | Each | 01 to 40
| with WHO logo and donor logo (full color) |  | 50 - 99
100 to 300
12 | Flexi banner (3m x 1.5m) | Each | 01 to 49
| Full color with one side printing with WHO logo and donor logo |  | 50 - 99
100 to 300
13 | Flexi banner (3m x 1.5m) | Each | 01 to 49
| Full color with one side printing with WHO logo and donor logo |  | 50 - 99
100 to 300
14 | Flexi banner (4m x 2m) | Each | 01 to 49
| Full color with one side printing with WHO logo and donor logo |  | 50 - 99
100 to 300
15 | Stickers - 9.5 cm x 9.5 cm | Each | 50 to 149
One side printing, art paper 300gsm with gloss
| lamination, gumming at the back |  | 149 and above
16 | Stickers - 10 cm x 20 cm | Each | 01 to 49
| One side printing, art paper 300gsm with gloss lamination, gumming at the back |  | 50to 149
150 to 500
17 | Stickers - 15 cm x 15 cm | Each | 01 to 49
| One side printing, art paper 300gsm with gloss lamination, gumming at the back |  | 50 to 149
149 and above
18 | Stickers - 22 cm x 22 cm | Each | 01 to 49
| One side printing, art paper 300gsm with gloss lamination, gumming at the back |  | 50 to 149
149 and above
19 | Stickers-30 cm x 60 cm | Each | 01 to 49
| One side printing, art paper 300gsm with gloss lamination, gumming at the back |  | 50 to 149
149 and above
20 | Stickers-60 cm x 60 cm | Each | 01 to 49
| One side printing, art paper 300gsm with gloss lamination, gumming at the back |  | 0 to 149
149 and above
21 | Stickers - S | Each | 01 to 99
| Vinyl gloss sticker paper - white background with blue WHO logo or another donor logo or flag. Size 2.25 x 2.5 inch |  | 100 to 299
300 and above
22 | Sticker – A5 | Each | 01 to 99
| Vinyl gloss sticker paper - white background with blue WHO logo or another donor logo or flag. Size 8.3 x 5.8 inch |  | 100 to 299
300 and above
23 | Sticker – A4 | Each | 01 to 99
| Vinyl gloss sticker paper - white background with blue WHO logo or another donor logo or flag. Size A4 |  | 100 to 299
300 and above
24 | Sticker – A3 | Each | 01 to 99
| Vinyl gloss sticker paper - white background with blue WHO logo or another donor logo or flag. Size A3 |  | 100 to 299
300 and above
25 | Sticker – A2 | Each | 01 to 99
| Vinyl gloss sticker paper - white background with blue WHO logo or another donor logo or flag. Size A2 |  | 100 to 299
300 and above
26 | Sticker – A1 | Each | 01 to 99
| Vinyl gloss sticker paper - white background with blue WHO logo or another donor logo or flag. Size A1 (poster size) |  | 100 to 299
300 and above
27 | Notepads with design | Each | 01 to 149
A4 size, softcover, metal ring bind with 75gsm paper,
+/-100pages imprinted with a design on the front and
| back cover, WHO logo as a watermark on the |  | 149 to 249
| inside (lined) pages |  | 250 and above
28 | Notebooks with design with WHO logo | Each | 01 to 49
| A5, Hardcover, with 75gsm paper, +/-100pages, rounded corners, ribbon bookmark, elastic closure and imprinted in one color |  | 50 to 149
150 to 499
500 and above
29 | Notebook with Design WHO logo) | Each | 01 to 49
| A5 hardcover notepad, 80 pages |  | 50 - 149
150 to 499
500 and above
30 | Pens with WHO logo | Each | 1-100
| Ballpoint pens, writing color blue, the printing of design in one color |  | 101-200
201 and more
31 | Agenda | Each | 01 to 500
| A5 size, hard cover daily-agenda, with 20 full-color inserts of full-color pages which are glossy |  | 501and more
| Wall Calendar |  | 01 to 500
32 | Al size, glossy laminated pages, amount 14 pages with white spiral binding, design to be given by WHO logo | Each | 501 and more
33 | Desk Calendar | Each | 01 to 500
| A5 landscape, full-colour, double-sided, 14 pages, design to be given by the WHO |  | 501 and more
34 | Business cards | Box of 100 cards | 01 to 19
| Single-sided in full color, 250gsm paper, size 8,5x5,5cm {in boxes of 100 cards) |  | 20 - 49
50 – 100
35 | Brochures | Each | 01 – 299
| A4, trifold full-color brochures’ |  | 300 - 599
600 - 1000
36 | Custom Presentation Folders with WHO logo | Each | 01 to 49
| A4, full-colour, double-sided, laminated |  | 50 to 149
150 to 499
500 and above
37 | Folders with WHO logo | Each | 01 to 49
| A4 size folder on 300gsm artboard in full-color with matte lamination with spot UV |  | 50 to 149
150 to 499
500 and above
38 | Clipboards with WHO logo | Each | 01 to 49
| A4 size, color, blue with one color printed on the back (with logo or other design) |  | 50to 149
150 to 499
500 and above
39 | Stencils | Each
| Plastic thick PVC sheet with cut-out of WHO logo, size 30x16cm |  | 01 to 50
40 | Baseball cap | Each | 01 to 49
| Color blue, one size, with WHO logo stitching/embroidery and printing of text/logo in FC |  | 50 to 149
150to 499
500 and above
41 | Hats | Each | 01 to 49
| Cotton twill - blue or khaki with white or blue WHO logo embroidery logo |  | 50 – 149
150 to 400
500 and above
42 | T-shirts round neck | Each | 01 to 49
| Cotton fabric - Color blue/white/royal blue, 120 gsm cotton, treatment: hot high exhaust reactive cotton drying (shrink drying) printing to be done front and back, the following sizes: XS, S, M, L, XL, XXL, XXXL for both men and women. |  | 50 to 149
150 to 499
500 and above
43 | T-shirts round neck with stitching | Each | 01 to 49
| Cotton fabric - color blue/white/royal blue, 140 gsm cotton, stitching of WHO logo on the front and back, the following sizes: XS, S, M, L, XL, XXL, XXXL, XXXXL for both men and women |  | 50 to 149
150 to 499
500 and above
44 | Polos | Each | 01 to 49
Cotton fabric Color blue/white/royal blue, 120 gsm cotton (no pockets) Printing: multiple colors on front and back Sizes: XS, S, M, L, XL, XXL, XXXL, XXXXL for both men and women
50 to 149
150 to 499
500 and above
45 | Color blue, cotton, long sleeve, elastic waist inserts, | Each | 150to 499
to be printed front and back with the following
| sizes: XS, S, M, L, XL, XXL, XXXL, XXXXL |  | 500 and above
46 | Vests | Each | 01 to 99
| Cotton twill - royal blue, khaki or other colors with WHO logo embroidery on the back and on the front pocket (XS - XXXL) |  | 100 – 199
200 – 300
47 | Reflective Vests | Each | 01 to 99
| Nylon material - yellow or orange color with WHO logo and/or other logos back and front (XS-XXXL) |  | 100 – 299
300 – 500
48 | Arm Band | Each | 01 to 19
| Nylon material - royal blue size 14 x 5 inch with WHO logo |  | 20 - 49
50 - 199
49 | Overalls | Each | 01 to 99
| Cotton twill - royal blue with white WHO logo on front right chest and back (M- XXL) |  | 100 – 299
300 – 500
50 | Gumboots | Pair | 01 to 49
| Color black, PVC, nylon lining, with WHO logo printed on the sides in the following sizes S, M, L, XL, XXL, XXXL |  | 5O to 149
150 to 499
500 and above
51 | Gilet | Each | 01 to 99
| Color Blue, 100% cotton, pockets: bellowed right chest pocket, spacious lower front pockets, hand-warmer side pockets, concealed front pocket, see- through front-breast pocket for ID, large spacious back pocket and float/pen holder to left chest treatment: hot high exhaust reactive cotton drying (shrink drying) printing to be done front and back in the following sizes XS, S, M, L, XL, XXL. |  | 100 – 299
300 – 500
52 | Light Field Jackets | Each | 01 to 99
| Color blue, hot high exhaust reactive cotton drying (shrink drying) printing to be done front and back with reflector strips on the side, one size for both men and women. |  | 100 – 299
300 – 500
53 | Lanyards | Each | 01 to 49
| Color blue, breakaway lanyards (plastic clip on the back which separates if snagged, pulled or caught on something), printing front repeat (screen printing) one color (white), size: width3/4" x 16"1 |  | 50 to 149
150 to 499
500 and above
54 | Badge holders | Each | 01 to 49
| Blue leather ID badge holder with 1ID window and 1 card slot with WHO logo printed in one color on the back |  | 50 to 149
l50to 499
500 and
above
55 | ID Lace | Each | 01 to 49
| 3/4-inch ID lace with buckle, emblem and WHO logo |  | 50 to 149
lS0to 499
500 and
above
56 | Shoulder bag | Each | 01 to 49
| with WHO logo and donor logo (full color) |  | 50 - 149
150 – 300
57 | Backpack bag | Each | 01 to 49
| with WHO logo and donor logo (full color) |  | 50 - 149
150 – 300
Above 300
58 | Laptop bag | Each | 01 to 49
| with WHO logo and donor logo (full color) |  | 50 - 149
150 – 300
Above 300
59 | Umbrella | Each | 01 to 49
| with WHO logo and donor logo (full color) |  | 50 - 149
150 – 300
Above 300
60 | Branded Packing Tape | Each | 01 to 49
| Whole packing tape with blue WHO logo, 2" width |  | 50 - 149
150 – 300
Above 300
61 | Marking-area tape | Each | 01 to 49
| -7cm width, and 100 meters in length |  | 50 - 149
| -Blue tape, with the WHO logo (6cm in height, and on 5 cm repeats) in blue |  | 150 – 300
Above 300
-Material Plastic
-Laminated/Glossy
62 | Flag – S | Each | 01 to 49
| Material: knitted polyester including insert for rope to tie to the front of the vehicle - royal blue/light blue or white color with WHO logo printed in UN blue on both sides (silk printing). Size 100 x 150 cm |  | 50 to 99
100 to 300
63 | Flag – M | Each | 01 to 49
| Material: knitted polyester including insert for rope to tie to the front of the vehicle - royal blue/light blue or white color with WHO logo printed in UN blue on both sides (silk printing). Size 125 x 204 cm |  | 50 to 99
100 to 300
64 | Flag – L | Each | 01 to 49
| Material: knitted polyester including insert for rope to tie to the front of the vehicle - royal blue/light blue or white color with WHO logo printed in UN blue on both sides (silk printing). Size 160 x 240 cm |  | 50 to 99
100 to 300
65 | Flag – T | Each | 01 to 49
| Material: knitted polyester - triangular shape - royal blue/light blue or white color with WHO logo printed in UN blue on both sides (silk printing). Size 30 x 50 cm |  | 50 to 99
100 to 300
66 | Flag – C | Each | 01 to 49
| Material: knitted polyester - triangular shape - royal blue/light blue or white color with WHO logo printed in UN blue on both sides (silk printing). Size 50 x 80 cm |  | 50 to 99
100 to 300
67 | Canvas bags with WHO logo | Each | For 0-50
| 100% canvas, printed on both sides to fit A4 papers/folders |  | For 50-100
For 100-150
For 150-200
For 200-250
For 250-350
For 350-500
68 | Paper bags | Each | For 0-50
| A4 size on 300gSM artboard in full color with gloss lamination, one side printing with WHO logo |  | For 50-100
For 100-150
For 150-200
For 200-250
For 250-350
For 350-500
69 | Jute bags with WHO logo | Each | For 0-50
| 100% jute, printed on two sides in full color on a bag with the size |  | For 50-100
For 100-150
For 150-200
For 200-250
For 250-350
For 350-500
70 | Personalized flash drives branded with WHO logo | Each | For 1-12
| - 16GB |  | For 13-25
| - Wallet fit (credit card size) |  | For 26-50
| - Capless, swivel design |  | For 51-75
| - Large Imprint area |  | For 76-100
| - USB 2.0, compatible with USB 1.1 |  | For 101-150
- Nano Flash SupportWin98/98SE/ME/2000/XP /Vista/MACOS
/LINUX automatic
- Data retention: more than 10 years
71 | Flash disk 8 GB | Each | 01 to 19
| Branded with WHO logo |  | 20 - 49
50 – 100
101 - 300
72 | Flash disk 16 GB | Each | 01 to 19
| Branded with WHO logo |  | 20 - 49
50 – 100
101 - 300
73 | Water bottle | Each | 01 – 49
| Branded WHO logo |  | 50 – 149
150 – 300
74 | Drawstring Bags | Each | For 0-50
| - Size 13” W x 16 1/2" H |  | For 50-100
| - Material: Blue, 80-gram non-woven polypropylene, is coated & water resistant. |  | For 100-150
| - Features drawstring closure |  | For 150-200
| - Imprint: WHO logo in white, silkscreen, centered on the bag |  | For 200-250
For 250-350
For 350-500
75 | Standard Roll-up banners | Each | 01 – 49
| - The visible area of the graphic is 2000mm (height) x 800mm (width), PVC material (300 micron) |  | 50 – 149
| - Telescopic pole for adjustable graphic heights |  | 150 – 300
- Twist out stabilizing foot for extra stability
- Including travel bag
76 | Wide Roll-up banners |  | 01 – 49
| - The visible area of the graphic is 2000mm (height) x 800mm (width), PVC material (300 microns) |  | 50 – 149
| - Telescopic pole for adjustable graphic heights |  | 150 – 300
- Twist out the stabilizing foot for extra stability
- Including travel bag
77 | Raincoats | Each | For0-50
| - Material: Color blue, breathable and waterproof fabric such as Gore-Tex or Tyvek and |  | For 50-100
| coated nylons |  | For 100-150
| - Design: waist height, zipper in the front with a hood |  | For 150-200
| Printing: WHO logo on the front and back |  | For 200-250
| - Sizes: XS, S, M, L, XL, XXL, XXXL for both men and women |  | For 250-350
For 350-500
78 | Display Posters | Each | 01 – 49
| Jpeg printed on foam board the sizes of “8' x 4', 60" x 40", 48" x 36" and 40"x 32" and thicknesses of “5mm/10mm” in full color |  | 50 – 149
150 – 300
79 | Envelopes with WHO logo | Each | For0-50
| 1-Size C4 /A4 (324mm x 229mm) Printing- corporate logo, name and address Paper: 80 gms offset/matt paper – peel off self-sealing flap. | Each | For 50-100
For 100-150
For 150-200
For 200-250
For 250-350
For 350-500
80 | Envelopes with WHO logo | Each | For0-50
| DL envelope (110mmx220mm) with printing of corporate logo, name and address. Paper: 80 gsm offset/matt paper. Peel off the self-sealing flap. |  | For 50-100
For 100-150
For 150-200
For 200-250
For 250-350
For 350-500
81 | Envelopes DL with WHO logo | Each | For0-50
For 50-100
| 110 x 220 mm, with the WHO logo and address printed on the top left on the back of the envelope. |  | For 100-150
For 150-200
For 200-250
For 250-350
For 350-500
82 | Envelopes C5 | Each | For0-50
For 50-100
| 162 x 229 mm, with the WHO logo and address printed on the top left on the back of the envelope |  | For 100-150
For 150-200
For 200-250
For 250-350
For 350-500
83 | Envelopes C4 | Each | For0-50
For 50-100
| With the WHO logo and address printed on the top left on the back of the envelope. |  | For 100-150
For 150-200
For 200-250
For 250-350
For 350-500
84 | Plague | Each | For
| · 5x7 (35 sq. in.) |  | 01 to 20
| · 6x8 (48 sq. in.) |  | 21 to 50
| · 8x10 (80 sq. in.) |  | 51 to 100
| BRONZE ALUMINUM BRASS |  | 100+
85 | Overalls/Coveralls | Each | For 01-50
| - Material: denim cloth |  | For 50-100
For 100-150
| - Design: zipper or buttons in the front |  | For 150-200
| Printing: WHO logo on the front and back |  | For 200-250
| - Sizes: XS, S, M, L, XL, XXL, XXXL for both men and women |  | For 250-350
For 350-500
86 | Class II Safety Vests with WHO logo | Each | For 01-50
| - Material: Garments will have additional amounts of high-visibility materials that allow for better definition of the wearer. |  | For 50-100
For 100-150
| - Design: logos and highly reflective straps |  | For 150-200
| Printing: WHO logo /partner logos on the front and back |  | For 200-250
| - Sizes: XS, S, M, L, XL, XXL, XXXL for both men and women |  | For 250-350
For 350-500
87 | A4 Size journal (inner pages: full color) incl. Casebound | One Page | 01 to 49
| Hardcover in full-color (300 gsm), inside pages full-colour (standard printing paper: 75gsm), | One Page | 50to 149
| Perfect binding, saddle stitching, sewing binding, thread stitching, hardcover | One Page | 150 to 499
|  | One Page | 500 and above
88 | A3 Size journal (inner pages: full color) incl. Casebound | One Page | 01 to 49
| Hardcover in full color (300 gsm), inside pages full color (standard printing paper: 75gsm), | One Page | 50 to 149
| Perfect binding, saddle stitching, sewing binding, thread stitching, hardcover | One Page | 150 to 499
89 | Nutrition program Items for Printing (Training Materials for SAM – MC)
| Training of the severe management of inpatients with medical complications - banner (2m X 1m) | One Page | 01 to 10
90 | Photo booklet A4 | 12 Pages | 01 t0 100
101 to 200
201 to 300
301 to 400
401 to 500
91 | SAM - MC training schedule A4 | One Page | 01 t0 100
101 to 200
201 to 300
301 to 400
401 to 500
92 | Pre – Test SAM training material A4 | Two Pages | 01 t0 100
101 to 200
201 to 300
301 to 400
401 to 500
93 | Post – Test SAM training material A4 | Two Pages | 01 t0 100
101 to 200
201 to 300
301 to 400
401 to 500
94 | Registration Form full coloured landscape | One Page | 01 t0 100
101 to 200
201 to 300
301 to 400
401 to 500
95 | Initial Management page CCP | One Page | 01 t0 100
101 to 200
201 to 300
301 to 400
401 to 500
96 | Critical Care pathway (all 5 pages) | Five Pages | 01 t0 100
101 to 200
201 to 300
301 to 400
401 to 500
97 | Weight for height reference card full colored A4 | One Page | 01 t0 100
101 to 200
201 to 300
301 to 400
401 to 500
98 | Weight for Length reference card full colored A4 | One Page | 01 t0 100
101 to 200
201 to 300
301 to 400
401 to 500
99 | F-75 reference card full colored A4 | One Page | 01 t0 100
101 to 200
201 to 300
301 to 400
401 to 500
100 | F- 100 reference card full colored A4 | One Page | 01 t0 100
101 to 200
201 to 300
301 to 400
401 to 500
101 | 24 hr – feed intake chart | One Page | 01 t0 100
101 to 200
201 to 300
301 to 400
401 to 500
102 | Daily ward feed chart full colored A4 | One Page | 01 t0 100
101 to 200
201 to 300
301 to 400
401 to 500
103 | Weight Chart full colored A4 | One Page | 01 t0 100
101 to 200
201 to 300
301 to 400
401 to 500
104 | Outcomes CCP full colored | One Page | 01 t0 100
101 to 200
201 to 300
301 to 400
401 to 500
105 | Discharge card inside full colored | One Page | 01 t0 100
101 to 200
201 to 300
301 to 400
401 to 500
106 | Discharge card outside full colored | One Page | 01 t0 100
101 to 200
201 to 300
301 to 400
401 to 500
107 | Antibiotic reference card full colored A4 | One Page | 01 t0 100
101 to 200
201 to 300
301 to 400
401 to 500
108 | Monitoring Record (Pluses rate, Respiratory & Temperature) full colored | Three Pages | 01 t0 100
101 to 200
201 to 300
301 to 400
401 to 500
109 | Guideline for inpatient full colored A4 | 150 Pages | 01 t0 100
101 to 200
201 to 300
301 to 400
401 to 500
110 | Module1: Introduction full colored A4 | 21 Pages | 01 t0 100
101 to 200
201 to 300
301 to 400
400 to 500
111 | Module 2: Principles of Care 65 pages A4 printed on both sides full-color | Each | 01 t0 100
101 to 200
201 to 300
301 to 400
400 to 500
112 | Module 3: Initial Management 86 pages A4 printed on both sides full-color | Each | 01 t0 100
101 to 200
201 to 300
301 to 400
400 to 500
113 | Module 4: Feeding 77 pages A4 printed on both sides full-color | Each | 01 t0 100
101 to 200
201 to 300
301 to 400
400 to 500
114 | Module 5: Daily Care 44 pages A4 printed on both sides full-color | Each | 01 t0 100
101 to 200
201 to 300
301 to 400
400 to 500
115 | Module 6: Monitoring and Problem solving 55 pages A4 printed on both sides full-color | Each | 01 t0 100
101 to 200
201 to 300
301 to 400
400 to 500
116 | Module 7: Involving Mothers 36 pages A4 printed on both sides full-color | Each | 01 t0 100
101 to 200
201 to 300
301 to 400
400 to 500
117 | Module 8: Outpatient Management of Severe Acute Malnutrition 31 pages A4 printed on both sides full-color. | Each | 01 t0 100
101 to 200
201 to 300
301 to 400
400 to 500
118 | Integrated Diseases Surveillance (IDSR) | Each
| Case base investigation form, 1 page in triplicate paper color of white, yellow and blue (bound into a booklet – A3 size) | on page | 01 to 100
101 to 300
301 to 400
401 to 500
119 | Facility Supervision register 100 pages front and back (bound into booklet – A3 size) | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
120 | Standard generic case definitions chart that includes Zika case definition; 1 page, type: PVC material; A1 size or Calendar type | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
121 | Cholera flyer, Fact sheet brochure – 3 flaps glossy paper high quality; A4 size | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
122 | Meningitis flyer, Fact sheet brochure – 3 flaps glossy paper high quality; A4 size | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
123 | Cholera treatment flow chart, A1 size; Type PVC material | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
124 | Log of reported events (Alert)(IDSR-8) 1 page in duplicate paper color of white, yellow and blue (bound into a booklet – A3 size) | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
125 | EWARs Quick start Guide (Booklet). | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
126 | Outpatient Registers 5 years and above 1 page in duplicate paper color of white, yellow and blue (bound into a booklet – A3 size) | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
127 | Outpatient Register Under 5 years, 1 page in duplicate paper color of white, yellow and blue (bound into a booklet – A3 size) | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
128 | Job Aids | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
129 | Community Based Surveillance case definitation 1 page, type: PVC material; A1 size or Calendar type | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
130 | Neglected Tropical Diseases (NTD) | Each | 01 to 100
| Code (1) Reporting tamplete for NTDs state coordination A4 size, one sided |  | 101 to 300
301 to 400
401 to 500
501 and above
131 | Code (2) Schistomasis MDA training manuel for trainers of teachers A4 size, one sided | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
132 | Code (3) Reference sheet for teachers and community directed distributors A4 size one sided | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
133 | Code (4) Schislomasiasis MDA, Atraining manual for trainers of teachers/ community directed distrubitors A4 size one sided | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
134 | Code (5) Village (County summary form (level 5) A4 size one sided | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
135 | Code (6) Tally sheet A4 size one sided | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
136 | Code (7) Intergrated NTDS Monitering check list (Village level) A4 size one sided | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
137 | Code (8) Intergrated NTDs Mornitoring check list A4 size one sided | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
138 | Code (9) Step-by-Step SCH MDA Procedure in County A4 size one sided | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
139 | Code (10) Step-by-Step SCH MDA Procedure in school for Teachers A4 size one sided | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
140 | Code (11) Serious Adverse event SAE report A4 size one sided | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
141 | Code (12) Reporting template for NTDs State coordinators A4 size one sided | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
142 | Code (13) Reporting template for community NTDs coordinators A4 size one sided | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
143 | Code (14) Reporting template for Payam Supervisors A4 size one sided | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
144 | Code (15) MDA Campaign to control Schislomosiasis Day (1) master trainer training A4 size one sided | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
145 | Code (16-17) MDA Campaign Day (1) Payam and Boma training A4 size one sided | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
146 | Code (18) Pre/Post test marking scheme A4 size one sided | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
147 | Code 20 Registers hardcover A4 size one sided | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
148 | Trainers manual A4 size one sided | Each | 01 to 100
101 to 300
301 to 400
149 | Supervisors Handbook A4 size one sided | Each | 01 to 100
101 to 300
301 to 400
150 | Training Attendance Form A4 size one page | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
151 | Payment Sheets A4 size one page | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
152 | Poster Vinyl gloss paper (2m X 1.5m) | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
153 | ID Cards printed on both sides 3/4 inches | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
154 | Flip charts | Each | 01 to 100
101 to 300
155 | HIV/TB/HEPATIS/STI | Each | 01 to 100
| Consolidated ART Guidelines Printing of A4 size Consolidated ART Guidelines with 2 inner pages printed on 130 GSM art paper in full color printed both sides |  | 101 to 300
301 to 400
401 to 500
501 and above
156 | HTS Guidelines Printing of A4 size HTS Guidelines with 2 inner pages printed on 130 GSM art paper in full color printed both sides; at least 60 pages | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
157 | The National Voluntary Medical Male Circumcision (VMMC) Guidelines Printing of A4 size HIV VMMC Policy with 25 inner pages printed on both sides | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
158 | VMMC Implementation package , A4 size HIV self-testing | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
159 | Key Populations Guidelines Printing of A4 size Key populations Guidelines with 60 inner pages printed on both sides | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
160 | Advanced HIV DSD Model Manual Printing of A4 size Advanced HIV DSD Model Manual with 76 inner pages printed on both sides | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
161 | HIV/Integrated Mentoring Package Printing of A4 size with 91 inner pages printed on both sides | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
162 | Leaflets (Hepatitis, etc.) printed in full-color | Each | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
163 | Polio tally Sheet back and front | Pages | 01 to 100
| (2 pages A4 size, colour blue, Page layout back and front -landscape and Portrait with paper quality of 80 gm) |  | 101 to 200
201 to 300
301 to 400
401 to 500
501 to 600
601 to 700
701 to 800
801 to 900
901 to 1000
1001 and above
164 | Team and Team Supervisor Training guide |  | 01 to 100
| (4 pages, A4 size, white with page layout of Portrait and 80 gm paper quality) | Pages | 101 to 200
201 to 300
301 to 400
401 to 500
501 to 600
601 to 700
701 to 800
801 to 900
901 to 1000
1001 and above
165 | Team Daily Movement Plan |  | 01 to 100
| (2 pages in 1 file, A5, Colour Yellow, page layout front and back portrait with 100 gm paper quality) | Pages | 101 to 200
201 to 300
301 to 400
401 to 500
501 to 600
601 to 700
701 to 800
801 to 900
901 to 1000
1001 and above
166 | Team Supervisor check list |  | 01 to 100
| (2 pages BF, A4 colour White, page layout portarit both front and back, paper quality of 80 gm) | Pages | 101 to 200
201 to 300
301 to 400
401 to 500
501 to 600
601 to 700
701 to 800
801 to 900
901 to 1000
1001 and above
167 | Record of vaccine Supplies and utilization to Vaccination Teams |  | 01 to 100
| A4 colour white, page layout both landscape and portrait with paper quality of 80 gm) | Pages | 101 to 200
201 to 300
301 to 400
401 to 500
501 to 600
601 to 700
701 to 800
801 to 900
901 to 1000
1001 and above
168 | Supply Record form County Cold Chain |  | 01 to 100
| (1 page, A4 size colour white with a page layout of landscape and paper quality of 80 gm) | Pages | 101 to 200
201 to 300
301 to 400
401 to 500
501 to 600
601 to 700
701 to 800
801 to 900
901 to 1000
1001 and above
169 | Summary of VT daily Movement monitoring |  | 01 to 100
| (1 page, A4 size colour white, page layout of landscape with paper quality of 80 gm) | Pages | 101 to 200
201 to 300
301 to 400
401 to 500
501 to 600
601 to 700
701 to 800
801 to 900
901 to 1000
1001 and above
170 | OPV tally sheet summary form |  | 01 to 100
| (Admin summary for Team supervisor, Payam, County, State Level, page 1 A4 size, colour white, page layout of landscpe with paper quality of 80 gm) | Pages | 101 to 200
201 to 300
301 to 400
401 to 500
501 to 600
601 to 700
701 to 800
801 to 900
901 to 1000
1001 and above
171 | National_State and County level pre-campaign (readiness assesment) checklist- |  | 01 to 100
| 3 pages, A4 size, colour white, page layout both prtraint front and back with paper quality of 80 gm) | Pages | 101 to 200
201 to 300
301 to 400
401 to 500
501 to 600
601 to 700
701 to 800
801 to 900
901 to 1000
1001 and above
172 | Intra campaign supervision check list and Out of house survey form |  | 01 to 100
| (2 pages_BF, A4 size, colour white, page layout on front and back portrait with a paper quality of 80 gm) | Pages | 101 to 200
201 to 300
301 to 400
401 to 500
501 to 600
601 to 700
701 to 800
801 to 900
901 to 1000
1001 and above
173 | Intra-campaign supervision_IM_In House_survey |  | 01 to 100
| (1 page, A4 size, colour white with paper quality of 80 gm) | Pages | 101 to 200
201 to 300
301 to 400
401 to 500
501 to 600
601 to 700
701 to 800
801 to 900
901 to 1000
1001 and above
174 | LQAS Cluster data collection form |  | 01 to 100
| (1 page, A4 size color white, page layout portrait with 80 gm paper quality) | Pages | 101 to 200
201 to 300
301 to 400
401 to 500
501 to 600
601 to 700
701 to 800
801 to 900
901 to 1000
1001 and above
175 | State/County level DI checklist |  | 01 to 100
| (1 page, A4 size, colour white, page layout of portrait with 80 paper quality) | Pages | 101 to 200
201 to 300
301 to 400
401 to 500
501 to 600
601 and above
176 | WHO Lease Agreement form |  | 01 to 100
| (2 pages _BF, A4 white, page layout front and back portriat with 80 gm paper quality) | Pages | 101 to 200
201 to 300
301 to 400
401 to 500
501 to 600
601 to 700
701 to 800
801 to 900
901 to 1000
1001 and above
177 | Training Attendance sheet |  | 01 to 100
| (1 page, A4 size, colour white, page layout landscape with 80 gm paper quality) | Pages | 101 to 200
201 to 300
301 to 400
401 to 500
501 to 600
601 to 700
701 to 800
801 to 900
901 to 1000
1001 and above
178 | Vaccination team Payment sheet |  | 01 to 100
| (1 page, A4 size, colour white, page layout portrait with 80 gm paper quality) | Pages | 101 to 200
201 to 300
301 to 400
401 to 500
501 to 600
601 to 700
701 to 800
801 to 900
901 to 1000
1001 and above
179 | Team supervisors payment sheet |  | 01 to 100
| (1 page A4 size, colour white, page layout of portrait with 80 gm paper quality) | Pages | 101 to 200
201 to 300
301 to 400
401 to 500
501 to 600
601 to 700
701 to 800
801 to 900
901 to 1000
1001 and above
180 | Casual Workers payment sheet |  | 01 to 100
| (1 page, colour white, page layout portarit with 80 gm paper quality) | Pages | 101 to 200
201 to 300
301 to 400
401 to 500
501 to 600
601 to 700
701 to 800
801 to 900
901 to 1000
1001 and above
181 | WHO Cash Payment Voucher (1 page, A4 size colour white, page layout portrait, paper quality of 80 gm) | Pages | 01 to 100
101 to 200
201 to 300
301 to 400
401 to 500
501 to 600
601 and above
182 | Chalks boxes of 6 pieces | Pack | 01 to 100
101 to 200
201 to 300
301 to 400
401 to 500
501 to 600
601 to 700
701 to 800
801 to 900
901 to 1000
1001 and above
183 | Boxes of pens | Pieces | 01 to 100
101 to 200
201 to 300
301 to 400
401 to 500
501 to 600
601 to 700
701 to 800
801 to 900
901 to 1000
1001 and above
184 | Document wallet A4 Plastic for Vaccination team kits (A)_Blue | Pieces | 01 to 100
101 to 200
201 to 300
301 to 400
401 to 500
501 to 600
601 to 700
701 to 800
801 to 900
901 to 1000
1001 and above
185 | Document wallet A4 Plastic for Team supervisors (B,C,D)_ Yellow | Pieces | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
186 | Document wallet A4 Plastic for County supervisors Kit(E, F, G)_Red | Pieces | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
187 | Document wallet A4 Plastic for state supervisors kit (H, I, J, K)_pink |  | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
188 | Document wallet A4 Plastic for National supervisors Kit (L ,M)_white/clear | Pieces | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
189 | Sacks for 100kg capacity | Pieces | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
190 | Zipped plastic bag for vaccine (6X6 inch) | Pieces | 01 to 100
101 to 300
301 to 400
401 to 500
501 and above
191 | Vaccination Team Operational kit:_(A) | Pages | 01 to 100
| (A5, white, printing colour, page layout portrait 80 gm paper Quality) |  | 101 to 200
201 to 300
301 to 400
401 to 500
501 to 600
601 to 700
701 to 800
801 to 900
901 to 1000
1001 and above
192 | Team Supervisors Operational kit_(B) | Pages | 01 to 100
| ((A5, white, printing colour, page layout landscape 80 gm paper Quality) |  | 101 to 200
201 to 300
301 to 400
401 to 500
501 to 600
601 to 700
701 to 800
801 to 900
901 to 1000
1001 and above
193 | Team Supervisors Accountability kit_ (C ) | Pages | 01 to 100
| (A5, white, printing colour, page layout portrait 80 gm paper Quality) |  | 101 to 200
201 to 300
301 to 400
401 to 500
501 to 600
601 to 700
701 to 800
801 to 900
901 to 1000
1001 and above
194 | Distribution Post VAM Operational Kit_(D) | Pages | 01 to 100
| A5, white, printing colour, page layout portrait 80 gm paper Quality) |  | 101 to 200
201 to 300
301 to 400
401 to 500
501 to 600
601 to 700
701 to 800
801 to 900
901 to 1000
1001 and above
195 | County Supervisors Operational kit_(E) | Pages | 01 to 100
| A5, white, printing colour, page layout landscape 80 gm paper Quality) |  | 101 to 200
201 to 300
301 to 400
401 to 500
501 to 600
601 and above
196 | County Accontability kit_(F ) | Pages | 01 to 100
| A5, white, printing colour, page layout portrait 80 gm paper Quality) |  | 101 to 200
201 to 300
301 to 400
401 to 500
501 to 600
601 and above
197 | County VAM supervisors Operational kit_(G) | Pages | 01 to 100
| A5, white, printing colour, page layout landscape 80 gm paper Quality) |  | 101 to 200
201 to 300
301 to 400
401 to 500
501 to 600
601 and above
198 | State Supervisors Operational kit_ (H) | Pages | 01 to 100
| A5, white, printing colour, page layout landscape 80 gm paper Quality) |  | 101 to 200
201 to 300
301 to 400
401 to 500
501 to 600
601 and above
199 | State team Accountability kit_(I) | Pages | 01 to 100
| A5, white, printing colour, page layout landscape 80 gm paper Quality) |  | 101 to 200
201 to 300
301 to 400
401 to 500
501 and above
200 | State VAM supervisors Operational kit_(J) | Pages | 01 to 100
| A5, white, printing colour, page layout landscape 80 gm paper Quality) |  | 101 to 200
201 to 300
301 to 400
401 to 500
501 and above
14.3
201 | State M and E (LQAS and PCE) (K) | Pages | 01 to 100
| A5, white, printing colour, page layout landscape 80 gm paper Quality) |  | 101 to 200
201 to 300
301 to 400
401 to 500
501 and above
14.3
202 | National Supervisors kit_Operational (L) | Pages | 01 to 100
| A5, white, printing colour, page layout landscape 80 gm paper Quality) |  | 101 to 200
201 to 300
301 to 400
401 to 500
501 and above
203 | National M and E (LQAS and IM) form_ ( M) | Pages | 01 to 100
| A5, white, printing colour, page layout landscape 80 gm paper Quality) |  | 101 to 200
201 to 300
301 to 400
401 to 500
501 and above
204 | Standard Case definitions for priority diseases A3 poster | Pieces | 01 to 100
101 to 200
201 to 300
301 to 400
401 to 500
501 and above
205 | Epidemiologic surveillance of EPI target diseases A3 poster | Pieces | 01 to 100
101 to 200
201 to 300
301 to 400
401 to 500
501 and above
206 | CASE definitions for AFP/Measles and NNT, A3 Poster | Pieces | 01 to 100
101 to 200
201 to 300
301 to 400
401 to 500
501 to 600
601 and above
207 | Acute flaccid paralysis poster A3 poster | Pieces | 01 to 100
101 to 200
201 to 300
301 to 400
401 to 500
501 and above
208 | AFP differential diagnosis poster A3 poster | Pieces | 01 to 100
101 to 200
201 to 300
301 to 400
401 to 500
501 and above
209 | SoP For AFP A4 with 100 gm quality cover) | Pieces | 01 to 100
101 to 200
201 to 300
301 to 400
401 to 500
501 to 600
601 and above
210 | Marking-area tape | Pieces | 01 to 100
| -7cm width, and 100 meters in length |  | 101 to 200
| -Blue tape, with the WHO logo (6cm in height, and on 5 cm repeats) in blue |  | 201 to 300
| -Non-adhesive |  | 301 to 400
| -Material Plastic |  | 401 to 500
| -Laminated/Glossy |  | 501 to 600
601 to 700
701 to 800
801 to 900
901 to 1000
1001 and above
211 | T-shirts round neck with stitching | Pieces | 01 to 100
| Color blue, 140 gsm cotton, stitching of WHO logo on the front and back, the following sizes: XS, S, M, L, XL, XXL, XXXL, XXXXL for both men and women |  | 101 to 200
201 to 300
301 to 400
401 to 500
501 to 600
601 and above
212 | Injectable vaccination campaign data tools | Each | 01 to 100
| Supplementary Immunization Activities (SIAs) campaign: Registration book, 40 sheets, A4 white, black printing, portrait 80g, 80 pages with space for 25 lines/page with hard cover |  | 101 to 200
201 to 300
301 to 400
401 to 500
501 and above
213 | Supplementary Immunization Activities campaign: Vaccination Card, 1 page; A6-coloured pape; Landscape; 240g, Cardboard paper |  | 01 to 100
101 to 200
201 to 300
301 to 400
401 to 500
501 and above
214 | Tally Sheet for Supplementary Immunization Activities (SIAs) back & forth; 1 sheet (2 pages) A4 blue paper; black printing; Landscape; 80g |  | 01 to 100
101 to 200
201 to 300
301 to 400
401 to 500
501 and above
215 | Tally Sheet summary for Vaccination campaign all level back and forth A4, white; black printing; Landscape; 80g; 1 page |  | 01 to 100
101 to 200
201 to 300
301 to 400
401 to 500
501 and above
216 | Vitamin A Tally Sheet 1 sheet A4 Pink paper; Black printing; Landscape 80g, 1 page |  | 01 to 100
101 to 200
201 to 300
301 to 400
401 to 500
501 and above
217 | Albendazole Tally Sheet 1 sheet A4 white paper; coloured printing; Landscape 80g, 1 page |  | 01 to 100
101 to 200
201 to 300
301 to 400
401 to 500
501 and above
218 | Vaccination Campaign Implementation Checklist; 1 sheet; A4 White paper, Black printing Landscape 80g, 1 page |  | 01 to 100
101 to 200
201 to 300
301 to 400
401 to 500
501 and above
219 | Vaccination Campaign Daily Implementation Workplan: 1 sheet, A4 White paper, Black printing, Landscape 80g 1 page |  | 01 to 100
101 to 200
201 to 300
301 to 400
401 to 500
501 and above
220 | Vaccination Campaign Injection Safety and Bloc level supervision Checklist; 1 sheet, A4 White paper, Black printing, Landscape Portrait 80g, 2 pages |  | 01 to 100
101 to 200
201 to 300
301 to 400
401 to 500
501 and above
221 | AEFI Operational field guide booklet; 5 sheets color print, A4 White colored, Portrait 80g; 10 pages with Hard Cover |  | 101 to 200
201 to 300
301 to 400
401 to 500
501 and above
222 | Vaccination Campaign AEFI Line listing Form; A4, White paper, Black printing, Landscape, 80g, 1 page |  | 101 to 200
201 to 300
301 to 400
401 to 500
501 and above
223 | Vaccination Campaign AEFI Reporting Form: A4, 1 sheet White paper, Black printing, Portrait 80g 2 pages |  | 101 to 200
201 to 300
301 to 400
401 to 500
501 and above
224 | Vaccination Campaign Serious AEFI cases Investigation: A4, White paper, Black printing, Portrait 80g 1 page |  | 101 to 200
201 to 300
301 to 400
401 to 500
501 and above
225 | Vaccination Campaign Serious AEFI Summary Investigation Form ; 1 sheet A4 White paper, Black printing, Portrait 80g, 2 pages |  | 101 to 200
201 to 300
301 to 400
401 to 500
501 and above
226 | Vaccination Campaign AEFI Laboratory Request Form: A4, 1 sheet White paper, Black printing, Portrait 80g 2 pages |  | 101 to 200
201 to 300
301 to 400
401 to 500
501 and above
227 | Vaccination Campaign Monitoring Form - In House Survey and Registration of Unvaccinated children 1 sheet A4 White paper, Black printing, Landscape, 80g, 2 pages |  | 101 to 200
201 to 300
301 to 400
401 to 500
501 and above
236 | Vaccination Campaign Monitoring Form - Out of House Survey and Registration of Unvaccinated children 1 sheet A4 White paper, Black printing, Landscape, 80g, 2 pages |  | 101 to 200
201 to 300
301 to 400
401 to 500
501 and above
228 | Vaccination Campaign WHO Lease Agreement Form for vehicles 1 sheet , A4 White paper, Black printing Portriate, 80g, 2 pages |  | 101 to 200
201 to 300
301 to 400
401 to 500
501 and above
229 | Vaccination Campaign Training Attendance Sheet: 1 sheet, A4 White paper, Black printing, Landscape 80g, 1 page |  | 101 to 200
201 to 300
301 to 400
401 to 500
501 and above
230 | Supply of stationaries and other supplies for the vaccination campaign | Each | 101 to 200
| Ball Pen pack of 100; |  | 201 to 300
301 to 400
401 to 500
501 and above
231 | Document wallet A4 Plastic for Vaccination team and supervisors in different color |  | 101 to 200
201 to 300
301 to 400
401 to 500
501 and above
232 | Sacks for 100kg capacity |  | 101 to 200
201 to 300
301 to 400
401 to 500
501 and above
233 | Sacks for 50kg capacity |  | 101 to 200
201 to 300
301 to 400
401 to 500
501 and above
234 | Zipped plastic bag for vaccine (6X6 inch) |  | 101 to 200
201 to 300
301 to 400
401 to 500
501 and above
235 | Cotton wool absorbent 500gm roll nonsterile |  | 101 to 200
201 to 300
301 to 400
401 to 500
501 and above
236 | Rubbish collection plastic bag of 25kg |  | 101 to 200
201 to 300
301 to 400
401 to 500
501 and above
237 | Vaccination kit Labeling Forms | Each | 101 to 200
| Vaccination Team and supervisors kit labeling forms; 1 sheet, A5 white paper, colur print, Portriate, 80g, 1 page |  | 201 to 300
301 to 400
401 to 500
501 and above
238 | Pacaking of kits cahrges |  | 101 to 200
201 to 300
301 to 400
401 to 500
501 and above

## LOT 1 - Generators
Appendix 2
FORMAT FOR FINANCIAL PROPOSAL
Name of Bidder: | Click or tap here to enter text. | Date: | Click or tap to enter a date.
UNGM Number: | Click or tap here to enter text.
RFP reference:
The bidder is required to prepare the Financial Proposal ☐ following the below format ☐ following the attached Excel table and submit it in an envelope separate from the Technical Proposal as indicated in Section 2: Instruction to Bidders. The inclusion of any financial information in the Technical Proposal shall lead to disqualification of the Bidder. The Financial Proposal should align with the requirements of the Terms of Reference and the bidder’s Technical Proposal.
Currency of the proposal: US Dollars
LOT 1: Generators
Item Description | Unit of measure | Quantity | Unit price in USD (per item)
Generator (Perkins 250Kva) – Office
250 hours service
100 hours service
Generator (Perkins 300Kva) – Office
250 hours service
100 hours service
Generator – (PG Wilson 110Kva) – Warehouse
250 hours service
100 hours service
Generator (Perkins 20 kva) -Gumbo MOH Mapau compound
250 hours service
100 hours service
Generator (Perkins 80 kva) -PHEOC
250 hours service
100 hours service
Name | : _____________________________________________________________
Title | : _____________________________________________________________
Date | : _____________________________________________________________
Signature | : _____________________________________________________________
[Stamp with official stamp of the Bidder]

## LOT 2 - Airconditioners
Appendix 2
FORMAT FOR FINANCIAL PROPOSAL
Name of Bidder: | Click or tap here to enter text. | Date: | Click or tap to enter a date.
UNGM Number: | Click or tap here to enter text.
RFP reference:
The bidder is required to prepare the Financial Proposal ☐ following the below format ☐ following the attached Excel table and submit it in an envelope separate from the Technical Proposal as indicated in Section 2: Instruction to Bidders. The inclusion of any financial information in the Technical Proposal shall lead to disqualification of the Bidder. The Financial Proposal should align with the requirements of the Terms of Reference and the bidder’s Technical Proposal.
Currency of the proposal: US Dollars
LOT 2: AIRCONDITIONERS
The contractor is expected to draft the texts, develop the concept for the annual report, design, layout, and produce the annual report. The tasks of this process shall include, but not limited to: ▪Develop a visual concept. ▪Review existing documents that feed into the annual report. Assess the need for further information and proceed to request details from programme managers and the operations cluster. ▪Design a working schedule to get information for the annual report. ▪Copywriting, copy-editing, layout, and design of 20 to 30 pages of text for the 2024 annual report based on the information collected. ▪Deliver the final product to the WHO Office in South Sudan at agreed timeline. DELIVERABLES During the Assignment, the Contractor will deliver the following ▪Production of annual report. ▪Delivery of the final product to the WHO South Sudan office
Item Description | Unit of Measure | Quantity | Unit price in USD (per item)
Service
WHO office air conditioners 96 units
WHO Warehouse 14 units
WHO residence 17 units
Quarterly cleaning service once every quarter per each unit (127 units)
Coolant gaz filling (on request)
Spare Parts
Compressor replacement
Capacitor 35 + 5 microF – 440 VAC (on order)
12000 BTU unit (on order)
18000 BTU (on order)
24000 BTU (on order)
48000 BTU (on order)
Name | : _____________________________________________________________
Title | : _____________________________________________________________
Date | : _____________________________________________________________
Signature | : _____________________________________________________________
[Stamp with official stamp of the Bidder]

## LOT 3 - Plumbing&Sanitation
Appendix 2
FORMAT FOR FINANCIAL PROPOSAL
Name of Bidder: | Click or tap here to enter text. |  | Date:
UNGM Number: | Click or tap here to enter text.
RFP reference:
The bidder is required to prepare the Financial Proposal ☐ following the below format ☐ following the attached Excel table and submit it in an envelope separate from the Technical Proposal as indicated in Section 2: Instruction to Bidders. The inclusion of any financial information in the Technical Proposal shall lead to disqualification of the Bidder. The Financial Proposal should align with the requirements of the Terms of Reference and the bidder’s Technical Proposal.
Currency of the proposal: US Dollars
LOT 3: Plumbing/Sanitation
| Item Description | Unit of measure | Quantity | Unit price in USD (per item)
Cost of intervention per hour (WHO office, Warehouse and Naivasha Residence)
Toilet flush obstruction fixing (WHO office, Warehouse and Naivasha Residence)
Sink obstruction fixing (WHO office, Warehouse and Naivasha Residence)
Junction leakage fixing including gaskets (WHO office, Warehouse and Naivasha Residence)
Tap fixing including gaskets (WHO office, Warehouse and Naivasha Residence)
Cleaning of water tanks for both office and warehouse
Exhauster service, 24000-liters truck (twice a week for WHO office and Warehouse)
Garbage collection, 3-ton truck size (twice a week WHO office and Warehouse)
Note: Any additional works require quotations to be approved
Name | : _____________________________________________________________
Title | : _____________________________________________________________
Date | : _____________________________________________________________
Signature | : _____________________________________________________________
[Stamp with official stamp of the Bidder]

## LOT 4 - Electrical Maintenance
Appendix 2
FORMAT FOR FINANCIAL PROPOSAL
Name of Bidder: | Click or tap here to enter text. |  | Date:
UNGM Number: | Click or tap here to enter text.
RFP reference:
The bidder is required to prepare the Financial Proposal ☐ following the below format ☐ following the attached Excel table and submit it in an envelope separate from the Technical Proposal as indicated in Section 2: Instruction to Bidders. The inclusion of any financial information in the Technical Proposal shall lead to disqualification of the Bidder. The Financial Proposal should align with the requirements of the Terms of Reference and the bidder’s Technical Proposal.
Currency of the proposal: US Dollars
LOT 4: Electrical Maintenance
Item Description |  | Unit of measure | Quantity | Unit price in USD (per item)
Service
Electrical safety inspection every 2 months and provision of check list with recommendation of areas that require urgent attention.
Service and maintenance of external lighting
Plumbing repairs and the washrooms.
Cost of intervention per hour
Spare Parts: (replacement parts (Legrand, ABB or Equivalent quality)
Circuit break 10A
Circuit break 16A
Circuit break 20A
Circuit break 32A
Circuit break 64A
Circuit break 100A
Socket outlet for prefabricated container
Socket outlet for masonry wall - embedded
1-way gang switch 10A, 240v flush mounted with back box
Fluorescent light 2ft complete unit
Fluorescent light tube 2ft
Fluorescent light complete unit 4ft
Fluorescent light tube 4ft
Name | : _____________________________________________________________
Title | : _____________________________________________________________
Date | : _____________________________________________________________
Signature | : _____________________________________________________________
[Stamp with official stamp of the Bidder]

## LOT 5 - Solar System
Appendix 2
FORMAT FOR FINANCIAL PROPOSAL
Name of Bidder: | Click or tap here to enter text. |  | Date:
UNGM Number: | Click or tap here to enter text.
RFP reference:
The bidder is required to prepare the Financial Proposal ☐ following the below format ☐ following the attached Excel table and submit it in an envelope separate from the Technical Proposal as indicated in Section 2: Instruction to Bidders. The inclusion of any financial information in the Technical Proposal shall lead to disqualification of the Bidder. The Financial Proposal should align with the requirements of the Terms of Reference and the bidder’s Technical Proposal.
Currency of the proposal: US Dollars
LOT 5: SOLAR SYSTEM – SUPPLY, INSTALLATION & MAINTENANCE
Item Description |  | Unit of measure | Quantity | Unit price in USD (per item)
Service: 50 KW Hybrid Solar system
Maintenance of solar system
Cleaning of solar panels 60 pcs, once a month
Cost of intervention per hour
Supply and installation of solar panels, 540w (incase of any damage/faulty)
200 kw Lithium-ion battery
Control box
Name | : _____________________________________________________________
Title | : _____________________________________________________________
Date | : _____________________________________________________________
Signature | : _____________________________________________________________
[Stamp with official stamp of the Bidder]

## LOT 6 - Locksmith works
Appendix 2
FORMAT FOR FINANCIAL PROPOSAL
Name of Bidder: | Click or tap here to enter text. |  | Date:
UNGM Number: | Click or tap here to enter text.
RFP reference:
The bidder is required to prepare the Financial Proposal ☐ following the below format ☐ following the attached Excel table and submit it in an envelope separate from the Technical Proposal as indicated in Section 2: Instruction to Bidders. The inclusion of any financial information in the Technical Proposal shall lead to disqualification of the Bidder. The Financial Proposal should align with the requirements of the Terms of Reference and the bidder’s Technical Proposal.
Currency of the proposal: US Dollars
LOT 6: Locksmith Works
Item Description |  | Unit of measure | Quantity | Unit price in USD (per item)
Cost of intervention per hour
Prefab door locks replacement
Prefab window locks replacement
Normal door lock replacements
Normal Window lock replacements, drawers’ locks and carboards locks
Hinges replacement
Name | : _____________________________________________________________
Title | : _____________________________________________________________
Date | : _____________________________________________________________
Signature | : _____________________________________________________________
[Stamp with official stamp of the Bidder]

## LOT 7 - Fumigation
Appendix 2
FORMAT FOR FINANCIAL PROPOSAL
Name of Bidder: | Click or tap here to enter text. |  | Date:
UNGM Number: | Click or tap here to enter text.
RFP reference:
The bidder is required to prepare the Financial Proposal ☐ following the below format ☐ following the attached Excel table and submit it in an envelope separate from the Technical Proposal as indicated in Section 2: Instruction to Bidders. The inclusion of any financial information in the Technical Proposal shall lead to disqualification of the Bidder. The Financial Proposal should align with the requirements of the Terms of Reference and the bidder’s Technical Proposal.
Currency of the proposal: US Dollars
LOT 7: Fumigation Services
Item Description |  | Unit of measure | Quantity | Unit price in USD (per item)
Fumigation Services (WHO Office, Warehouse and WHO Naivasha Residence)
Fumigation against pest and Rodents to be conducted quarterly
WHO office premise - WHO office has 77 prefabs and are divided into three major blocks A, B, C and the middle-fabricated offices that include refresher area. - Measure 560 sqmGuard’s block (Reception and DPU), Male and Female toilets. - Exterior part of the office compound safety tanks, manholes, generator room and the garbage area. - Routine check within the period of two weeks after the fumigation services to ensure the dead rats are collected and disposed. WHO Warehouse premise - Warehouse compound measure 330 sqm. - Three main structures within the premises, the main warehouse and the office are made up of hard structure and additional storage made up of shipping containers. - One common washroom, safety tank, generator room and garbage area. WHO Naivasha Residence - Measure 670 sqm. - Three hard structure buildings, Five accommodation prefabs, two tukuls, three storage containers and one fabricated archive. - Three common washroom, safety tank and one Banker within the WHO Naivasha residence.
Name | : _____________________________________________________________
Title | : _____________________________________________________________
Date | : _____________________________________________________________
Signature | : _____________________________________________________________
[Stamp with official stamp of the Bidder]

## LOT 8 - Fire extinguishers
Appendix 2
FORMAT FOR FINANCIAL PROPOSAL
Name of Bidder: | Click or tap here to enter text. |  | Date:
UNGM Number: | Click or tap here to enter text.
RFP reference:
The bidder is required to prepare the Financial Proposal ☐ following the below format ☐ following the attached Excel table and submit it in an envelope separate from the Technical Proposal as indicated in Section 2: Instruction to Bidders. The inclusion of any financial information in the Technical Proposal shall lead to disqualification of the Bidder. The Financial Proposal should align with the requirements of the Terms of Reference and the bidder’s Technical Proposal.
Currency of the proposal: US Dollars
LOT 8: SUPPLY & MAINTENANCE OF FIRE EXTINGUISHERS
Item Description |  | Unit of measure | Quantity | Unit price in USD (per item)
Maintenance of fire extinguishers: (Office, Warehouse & WHO Naivasha Residence)
Dry Powder – 2, 4, 5, 6, 9 & 25kg
Water - 9 liter
Carbon Dioxide – 2 & 5kg
Supply of new fire extinguishers:
Dry Powder – 2, 6, 9, 10 & 25kg
Water - 9 liter
Carbon Dioxide – 2, 10 & 5kg
Name | : _____________________________________________________________
Title | : _____________________________________________________________
Date | : _____________________________________________________________
Signature | : _____________________________________________________________
[Stamp with official stamp of the Bidder]

## LOT 9 - CCTV
Appendix 2
FORMAT FOR FINANCIAL PROPOSAL
| Name of Bidder: | Click or tap here to enter text. |  | Date:
| UNGM Number: | Click or tap here to enter text.
RFP reference:
The bidder is required to prepare the Financial Proposal ☐ following the below format ☐ following the attached Excel table and submit it in an envelope separate from the Technical Proposal as indicated in Section 2: Instruction to Bidders. The inclusion of any financial information in the Technical Proposal shall lead to disqualification of the Bidder. The Financial Proposal should align with the requirements of the Terms of Reference and the bidder’s Technical Proposal.
Currency of the proposal: US Dollars
| LOT 9: SUPPLY & MAINTENANCE OF CCTV CAMERAS (WHO Office and Warehouse) | Unit of measure | Quantity | Unit price in USD (per item)
Camera Specifications:
Outdoor Cameras: - Resolution: 4MP or higher - Lens Type: Varifocal lens (2.8-12mm) for adjustable focus and zoom capabilities - IR Range: Night vision up to 30 meters with Smart IR technology - Weatherproof Rating: IP66 or higher for durability against harsh weather conditions - Power Supply: PoE (IEEE802.3af), supporting 12VDC input - Features: WDR (Wide Dynamic Range) Pro (120dB), Hikvision ColorVu technology for full-color imaging in low light, Motion
Indoor Cameras: - Resolution: 4MP or higher - Lens Type: Varifocal lens (2.8-12mm) or fixed lens as per specific monitoring requirements - IR Range: Night vision up to 20 meters with EXIR technology - Mounting: Ceiling or wall mountable with adjustable angles - Power Supply: PoE (IEEE802.3af) or 12VDC input - Features: Wide-Angle Viewing (110-degree horizontal FOV), Audio Input/Output (optional), Smart Analytics (optional), Region of Interest (ROI) encoding for improved image compression.
PTZ Cameras: • Resolution: 4MP or higher with 1/1.8" progressive scan CMOS sensor • Optical Zoom: 25x optical zoom, 16x digital zoom for detailed monitoring of distant objects • Pan Range: 360 degrees continuous rotation with Pan Speed: 0.1° - 160°/s • Tilt Range: -15 to 90 degrees with Tilt Speed: 0.1° - 120°/s • IR Range: Night vision up to 200 meters with Smart IR technology • Presets: 300 programmable presets, 8 patrols, 4 patterns, and 4 pan scan • Power Supply: PoE+ (IEEE802.3at) or 24VAC input • Features: Auto-Tracking, Image Stabilization, Defogging, Heat Map, Face Detection, Audio Exception Detection.
Installation Components: • Cabling: Use high-quality copper CAT6 cables for data and power transmission. • Hard Drives: Install surveillance-grade hard drives for onboard storage in each camera system. • Conduits: Use PVC conduits for cable management and protection against environmental factors. • TV Screens: Install high-definition TV screens for local monitoring and playback. • Cabinets: Use lockable cabinets to house network equipment, DVR/NVR, and power supplies. • Conduits and Tracks: Use cable conduits and tracks for organized cable routing and management.
Regular Maintenance: Provide scheduled maintenance services including system checks, firmware updates, and component inspections to ensure optimal performance and longevity of the camera system. Suggestions, a maintenance contact, long term.
4. Installation Locations and Quantities: I) WHO Main Office: • 20 Outdoor Cameras, 3 Indoor Cameras, 4 PTZ Cameras (360-degree coverage) 10 cut 6 cables, 32 channels NVR, 64 Inch display unit(digital), power supply 24 channels, cables racks 32D, assorted accessories II) WHO Warehouse No. 1 (Thongping): • 12 Outdoor Cameras, 8 Indoor Cameras, 2 PTZ Cameras 6 cut 6 cables, 24channels NVR, 54 Inch display unit(digital), power supply 24 channels, cables racks 24D, assorted accessories 5. System Features: 1. Online Access: Remote access and management via Hik-Connect platform with HTTPS encryption. 2. Configuration: Centralized configuration using iVMS-4200 software for seamless control across all locations. 3. Cloud Integration: Hikvision Cloud Storage for secure off-site backups with AES-256 encryption. 4. Full Color Day and Night: ColorVu technology for vivid imaging in low light conditions without supplementary lighting. 5. Maintenance: Complimentary 3-month maintenance plan for all cameras including firmware updates, system checks, and troubleshooting support. 6. Storage: Onboard storage with H.265+ compression for up to 3 months, automatic backup to external NAS storage with RAID configuration for data redundancy and integrity.
Name | : _____________________________________________________________
Title | : _____________________________________________________________
Date | : _____________________________________________________________
Signature | : _____________________________________________________________
[Stamp with official stamp of the Bidder]

## LOT 10 - Water sup, sewage etc
Appendix 2
FORMAT FOR FINANCIAL PROPOSAL
Name of Bidder: | Click or tap here to enter text. |  | Date:
UNGM Number: | Click or tap here to enter text.
RFP reference:
The bidder is required to prepare the Financial Proposal ☐ following the below format ☐ following the attached Excel table and submit it in an envelope separate from the Technical Proposal as indicated in Section 2: Instruction to Bidders. The inclusion of any financial information in the Technical Proposal shall lead to disqualification of the Bidder. The Financial Proposal should align with the requirements of the Terms of Reference and the bidder’s Technical Proposal.
Currency of the proposal: US Dollars
LOT 10: WATER SUPPLY, SEWAGE & SOLID WASTE COLLECTION (WHO Office and Warehouse)
Item Description |  | Unit of measure | Quantity | Unit price in USD (per item)
Clean & treated water delivery (truck of 7,000liters)
Office Premise water container capacity
3000 Liters 1 pc
2000 Liters 3 pcs
5000 Liters 1 pc
Warehouse Premise water container capacity
5000 Liters 1 pc
Sewage/Exhauster services:
Cost of intervention
Cost per exhauster trip, 24000 litre truck
Solid waste collection:
Bi-weekly service, 24,000 litre truck
Name | : _____________________________________________________________
Title | : _____________________________________________________________
Date | : _____________________________________________________________
Signature | : _____________________________________________________________
[Stamp with official stamp of the Bidder]

## LOT 11 - General Maint. Service
Appendix 2
FORMAT FOR FINANCIAL PROPOSAL
Name of Bidder: | Click or tap here to enter text. |  | Date:
UNGM Number: | Click or tap here to enter text.
RFP reference:
The bidder is required to prepare the Financial Proposal ☐ following the below format ☐ following the attached Excel table and submit it in an envelope separate from the Technical Proposal as indicated in Section 2: Instruction to Bidders. The inclusion of any financial information in the Technical Proposal shall lead to disqualification of the Bidder. The Financial Proposal should align with the requirements of the Terms of Reference and the bidder’s Technical Proposal.
Currency of the proposal: US Dollars
LOT 11: GENERAL MAINTENANCE SERVICES (Office, Warehouse & Guesthouse)
Item Description |  | Unit of measure | Quantity | Unit price in USD (per item)
Indoor painting per square meter
Outdoor painting per square meter
Refrigerator service – coolant
Deep cleaning of WHO Vehicles
1. Inputs - The service specific staff, ad-hoc staff, specialized skills and expertise. - All tools and instruments required to provide the services in accordance with the proposal. - All equipment, chemicals, supplies and consumables required for cleaning and pest control of the premises. - Equipment, supplies, service contracts and articles of consumption required for the maintenance of the premises and services herein and their procurement in accordance with specifications presented by the contractor. - Staff uniforms and personal safety equipment.
Name | : _____________________________________________________________
Title | : _____________________________________________________________
Date | : _____________________________________________________________
Signature | : _____________________________________________________________
[Stamp with official stamp of the Bidder]