## SUMMARY SHEET
SUMMARY SHEET.
| S/No | Projects Description | Amount($)
| 1 | Motorised water system repaired in Ngiejibi Primary schools including extension of taps to latrines (handwashing, bathroom/urinal) | 0
| 2 | Motorised water system repaired in Langabu Primary schools including extension of taps to latrines (handwashing, bathroom/urinal) | #REF!
|  | GRAND TOTAL ($) | #REF!
Amounts in Words: |  |  |  | USD
( Pliz endorse with official company stamp and the director signs on all the Pages.)

## BOQ for Ngiejibi PS
Bills of Quantities for the Motorised water system repaired in Ngiejibi Primary school including extension of taps to latrines (handwashing, bathroom/urinal)
Item | Description of the items of Works | Unit | Qty | Rate (USD) | Amount (USD)
GENERAL NOTE:
Demolition & Pre Preparation Works
Following shall be taken into consideration and made provisions in pricing the Demolition & Pre-preparation Works bill:
i. | The Renderer / Contractor shall have a joint inspection with the Engineer to identify both materials & works to be demolished / replaced before starting the demolishing & renovation works. | Note
ii. | During the joint inspection as stipulated above, The Engineer has the right to decide on the parts of the existing works which are not to be demolished and to be continued as part of the permanent works, and the Renderer / Contractor & the Engineer shall be agreed clearly on the scope of work as per the determination of the Engineer as described above, complying with the Contract Documents, before starting the work. | Note
iii. | Any materials from the existing structures shall be removed with diligence and due care. During the cause of demolishing, all necessary precautions shall be taken to prevent any damage to works or structures which have been identified to be retained as a part of the permanent works. | Note
iv. | Any material removed from existing structures is the property of the Employer / Client & therefore all reusable materials shall be selected, listed & delivered to Employer's premises by the Contractor jointly with the Engineer's representative and as directed by the Engineer. For the purposes of interim & final payments in connection herewith, the Contractor shall keep records & present the Engineer the materials delivered to client. | Note
v. | All debris to be cart away off site as directed by the engineer. | Note
vi. | All new works are measured separately. | Note
vii. | Rate for demolishing & renovation shall include preparation of the surfaces to receive new works where applicable. | Note
viii. | The existing fencing conditions to be checked and proper support to be provided before commencing the demolition & renovation works. The contractor should provide adequate safety at site during the demolition works. The rate shall include carefully removal of reusable materials and handing over, providing adequate safety at site, cart away the debris from site or as directed by the engineer. | Note
Services
Disconnect and seal off all existing services electrical and telephone services: protect all service lines against damage during construction
Element No.1: Excavation and Earth Works.
A | Excavation of a trench for pipe laying measuring 400mm x 500mm depth from the water source up to the school .[Note. Distance from water point to proposed water tap is 60m Boys VIP, 15m to Gitrls and 10m to staffs VIP] | m3 | 12 | 0 | 0
B | Excavate a trench for foundation measuring 500mm wide x 500mm depth. From reduced level. | m3 | 3.84 | 0 | 0
| Sub-total Carried to Collection |  |  |  | 0
Element No.2: Hard core and Blinding.
A | 100mm thick hard core from broken stone rubbles or broken bricks and blinded with 50mm thick sand to receive the 75mm thick slab. The hard core should also be spread 400mm wide around the perimeter of the apron and drainage channel to receive 50mm thick of concrete to protect the apron walls from erosion. | m3 | 1.13 | 0 | 0
| Sub-total Carried to Collection |  |  |  | 0
Element No.3: Concrete Works.
NOTE: Use of batch box measuring (300mmx 300mm x 390mm) shall be used for measuring concrete constituents. NO EXCEPTION like wheel barrows will be tolerated !!!
Vibrated in -situ reinforced concrete class 25 (1:2:4) as to BS 8500:2002 in:-
A | 100mm thick concrete class 10(1:3:6) in 500mm wide foundation wall footing. | m3 | 1.54 | 0 | 0
B | 75mm thick concrete class 10 (1:3:6) slab on the plinth wall. | m3 | 0.44 | 0 | 0
C | 50mm mass conc. Class 15( 1:2:4) on RCC wall as copings. | m3 | 0.02 | 0 | 0
d | 50mm thick and 400 wide mass concrete Grade 10 (1:3:6) cast on 100mm murram blinding around the perimeter of apron and drainage channel with 1:7 gradient sloping away from the edge of the apron to prevent from erosion. | m3 | 0.28 | 0 | 0
| Sub-total Carried to Collection |  |  |  | 0
Element No.4: Form work.
Sawin timber formwork applied to:-
A | Sides of the RCC wall. | M² | 4.32 | 0 | 0
| Sub-total Carried to Collection |  |  |  | 0
Element No.5: Reinforcement:
Reinforcement steel reinforcement cut, bend & placed in position, unit price to include cutting, bending & placing in position with binding wire and concrete spacers.
10 mm diameter high tensile steel (0.616kg/m) in :-
A | Footings | Kg | 7.13 | 0 | 0
B | Reinforced wall.(1.8x 1.2 x 0.2 m) | Kg | 20.3 | 0 | 0
| Sub-total Carried to Collection |  |  |  | 0
Element No 6 :Masonry Work.
Precast cement sand blocks(200x 400 x 200mm) or Well quired bricks (200 x 100 x 65mm) bedded with cement sand mortar (1:3)mix in:-
A | Plinth/Apron Walls. | m2 | 8.25 | 0 | 0
| Sub-total Carried to Collection |  |  |  | 0
Element No.7: Finishes (Plastering and Floor Screeding)
a) Plastering:-
19mm cement sand mortar 1:3 to:-
A | Internal and external surfaces of apron and drainage channel | m2 | 4.6 | 0 | 0
B | Surfaces of Rcc wall. | m2 | 2.88 | 0 | 0
b) Floor Finish:-
C | Provide a 25mm think cement sand screed, 1:3 mix on the floors and finish smooth with a steel float with slope of 5 % towards the soak pit . | m2 | 5.78 | 0 | 0
| Sub-total Carried to Collection |  |  |  | 0
Element No.8: Plumbing Works.
A | Supply and lay HDPE Pipe 2" PN 10 . Cost should include cost for backfilling per meter length. | Lm | 1 | 0 | 0
B | Supply and intall 6No.Taps( 3 on each sides) according to the drawings including all the necessary fittings (GI, and PPR) . Rate shall include all the associated fittings ( 1" GI gate valves, reducers ( 1 x 3/4") PPR fittings to completion and ready for commisioning. | Sum | 3 | 0 | 0
| Sub-total Carried to Collection |  |  |  | 0
Element No.9: Soak Pit.
A | Excavate a trench for soak pit measuring 1.2m in diameter and depth of 1.5m depth . | m3 | 1.99 | 0 | 0
B | Supply and fill the trench with broken bricks. | LS | 1 | 0 | 0
| Sub-total Carried to Collection |  |  |  | 0
C | Element No.10: Water point fencing Fencing made of heavy grade chainlink 2100 mm high on 50x50X5mm angle iron posts at 2m c/c fixed on concrete plith foundation, with 3 No. 3.5 mm diameter galvanised wires and 3 No stands of galvanised barbed wire to BS 4102. with fence gate 1.5m wide made of angle iron frames and RHS protection grill. | Water point | 1 | 0 | 0
| Element No.11: Point-of-use water treatment with water purifier tablets at household level to ensure safety of water at point of consumption. 600 tablets (to treat 120 litres of water) per home for 2,000 homes to last 100 days. Includes cost of procurement and distribution at homes and awareness raising on use of purifiers. | Carton | 1 | 0 | 0
| Element No.12: Water Storage Tank Rehabilitation of existing steel water tank (5000L) including internal stays, pipe inlet and outlet, overflow and washout pipe connections, base frame and supports. ( Rate shall inlcude derusting and spray painting) | L/s | 1 | 0 | 0
| Element No13: Pump House Supply, manufacture and install enclosed canopy for electromechanical equipments made of 1mm thick steel sheet cladding and 40x40x1.5mm RHS frame mounted on C-25 reinforced concrete foundation. The canopy will be equiped with lockable doors and the overall outer size will be 1500x2000x3000mm. Price includes three coats of antirust and oil paint, locks, hinges, anchors and all the necessary material and labot to finish the work. RHS/Metal plate Billboard ( 0.9mx2m) | No | 1 | 0 | 0
| Element No.14:Testing and Commissioning Allow for the flushing, testing, sterilisation and commissioning of the plumbing system including water tanks and piping as per approved working drawings, specifications and bills of quantities to the entire satisfaction of the Engineer. | L/s | 1 |  | 0
SUMMARY OF ITEMS
1 | Element - 01 - EXCAVATION and EARTH WORKS |  |  |  | 0
2 | Element - 02 - BLINDING AND HARDCORE. |  |  |  | 0
3 | Element - 03 - CONCRETE WORK. |  |  |  | 0
3 | Element - 04 - FORM WORK. |  |  |  | 0
4 | Element - 05 - REINFORCEMENT WORK |  |  |  | 0
6 | Element - 06 - MASONRY WORK |  |  |  | 0
7 | Element - 07 - FINISHES (PLASTERING AND FLOOR SCREEDING) |  |  |  | 0
8 | Element - 08 - PLUMBING WORKS. |  |  |  | 0
9 | Element - 09 - SOAK PIT |  |  |  | 0
10 | ELEMET - 10 - FENCE |  |  |  | 0
11 | ELEMENT - 11- WATERTREATMENT |  |  |  | 0
12 | ELEMENT - 12 - WATER STORAGE TANK |  |  |  | 0
13 | ELEMENT - 13 - PUMP HOUSE |  |  |  | 0
14 | ELEMENT - 14 - COMMISSIONING & TESTING |  |  |  | 0
TOTAL COST OF THE PROVISION OF PIPED WATER IN THE SCHOOL (USD) |  |  |  |  | 0
NOTES: Add to the BOQ your Rates Only, Don't temper with the Qties. Excell will do the rest of the calculation for you. !!!!