## Annex 2 Libeya PS
Bill of Quantities
Installation,Construction and rehabilitaion of Rainwater Harvesting Facility for Libiya 1 & 2Primary School
S\No. | Item | Unit | Quantity | Unit rate (USD) | Amount (USD)
1 | Earth works
1.01 | Excavate a foundation trenches 0.3 m, Soakaway 1.0m depth, grease trap and removal of the top soil for the plateform and subsequently, in 10 cm layers with compaction including disposal of all surplus soil out of the site | Cu.m | 5 | 0 | 0
| Sub-total 1 |  |  |  | 0
2 | Construction works
2.01 | Construct 200 mm circular basement and perimeter for taps, Manholes wall in concrete solid standard blocks for the water storage in 1:3 cement mix ratio | Sq.m | 12 | 0 | 0
2.02 | Imported murrum (gravel) well spread levelled and compacted inside and surround the plateform . | Cu.m | 4 | 0 | 0
2.03 | Cast reinforce concrete slap of 70 cm thick on the top of the basement and the plateform considering concrete grad of M20 | Cu.m | 2 | 0 | 0
2.04 | 13mm thick cement sand (1:4) plastering including screeding mix with water proof cement.for both the two tanks | Sq.m | 25 | 0 | 0
2.05 | Supply, nailed and painted a 9x1 facial to received gutters | M | 40 | 0 | 0
| Sub-total 2 |  |  |  | 0
3 | Supplies and Fixtures
3.01 | Supply and install a Vertical Plastic water tank of 5000 liters 5cm in concrete basement connected with overflow, washout and outlet acesses | No | 1 | 0 | 0
3.02 | Supply and install gutters 6 inches with clips at a span of 75 cm conecting to the water storage | M | 40 | 0 | 0
3.03 | Supply and install a PVC pipe of 3inches connected as inlet to the storage tank while considering first flash out sytem and connect for waste water through a metallic floor trap to the grease trap and soakaway | M | 20 | 0 | 0
3.04 | Supply and install in the plateform four push cock water taps of 3/4 connect to the water storage tank using (HDPE flexible) PE 100 pipe OD63 PN10 wall thicks 3mm (1.0) as well considering overflow and washout access with control valve for both thew and the old tank | L-S | 1 | 0 | 0
| Sub-total 3 |  |  |  | 0
| Grand Total |  |  |  | 0
NB | Supply one set of the system 5000 liters
Revise the plumping of the avaialble system and replace the broken taps and valves

## Annex 2 Munuki East Ps
Bill of Quantities
Installation,Construction and rehabilitateof Rainwater Harvesting Facility at Munuki East Primary School
S\No. | Item | Unit | Quantity | Unit rate (USD) | Amount (USD)
1 | Earth works
1.01 | Excavate a foundation trenches 0.3 m, Soakaway 1.0m depth, grease trap and removal of the top soil for the plateform and subsequently, in 10 cm layers with compaction including disposal of all surplus soil out of the site | Cu.m | 3 | 0 | 0
| Sub-total 1 |  |  |  | 0
2 | Construction works
2.01 | Construct 200 mm circular basement and perimeter for taps manholes wall in concrete solid standard blocks for the water storage in 1:3 cement mix ratio | Sq.m | 5 | 0 | 0
2.02 | Imported murrum (gravel) well spread levelled and compacted inside and surround the plateform . | Cu.m | 3 | 0 | 0
2.03 | Cast reinforce concrete slap of 70 cm thick on the top of the basement and the plateform considering concrete grad of M20 | Cu.m | 2 | 0 | 0
2.04 | 13mm thick cement sand (1:4) plastering including screeding mix with water proof cement. | Sq.m | 8 | 0 | 0
| Sub-total 2 |  |  |  | 0
3 | Supplies and Fixtures
3.01 | Supply and install Vertical Plastic water tanks of 2000 liters 5cm in concrete basement connected with overflow, washout and outlet acesses | No | 2 | 0 | 0
3.02 | Supply and install gutters 6 inches with clips at a span of 75 cm conecting to the water storage | M | 20 | 0 | 0
3.03 | Supply and install a PVC pipe of 3inches connected as inlet to the storage tank while considering first flash out sytem and connect for waste water through a metallic floor trap to the grease trap and soakaway | M | 10 | 0 | 0
3.04 | Supply and install in the plateform four push cock water taps of 3/4 connect to the water storage tank using (HDPE flexible) PE 100 pipe OD63 PN10 wall thicks 3mm (1.0) as well considering overflow and washout access with control valve and replace the tap of the existing facilities | L-S | 1 | 0 | 0
| Sub-total 3 |  |  |  | 0
| Grand Total |  |  |  | 0
N.B | Installing one new set with 2000 liters of Rainwater Harvesting system
Rehabilitate the existing facility by replacing the 2000 liters tanks and revised all the plumping system and plastering works

## Annex 2 Atlabara West PS
Bill of Quantities
Installation and Construction of Rainwater Harvesting Facility at Atlabara Primary School
S\No. | Item | Unit | Quantity | Unit rate (USD) | Amount (USD)
1 | Earth works
1.01 | Excavate a foundation trenches 0.3 m, Soakaway 1.0m depth, grease trap at the hand washing facilities | Cu.m | 3 | 0 | 0
| Sub-total 1 |  |  |  | 0
2 | Construction works
2.01 | 13mm thick cement sand (1:4) re-plaster including screeding in metallic for all the three water plateforms | Sq.m | 18 | 0 | 0
| Sub-total 2 |  |  |  | 0
3 | Supplies and Fixtures
3.01 | Supply, replace and install a Vertical Plastic water tank of 5000 liters on concrete basement connected with overflow, washout and outlet acesses | No | 1 | 0 | 0
3.02 | Supply, replace and install gutters 6 inches with clips at a span of 75 cm conecting to the water storage | M | 50 | 0 | 0
3.03 | Supply,replaced and install a PVC pipe of 3inches connected as inlet to the storage tank while considering first flash out sytem and connect for waste water through a metallic floor trap to the grease trap and soakaway | M | 25 | 0 | 0
3.04 | Supply and install in the plateform four push cock water taps of 3/4 connect to the water storage tank using (HDPE flexible) PE 100 pipe OD63 PN10 wall thicks 3mm (1.0) as well considering replacement of access with control valve and replace the tap of the existing facilities | L-S | 3 | 0 | 0
| Sub-total 3 |  |  |  | 0
| Grand Total |  |  |  | 0
N. B | Replace 5000 liters
Revise the plumping of the available system and replace the broken taps and valves for the 3 system including the handwashing facilities at latrine

## Annex 2Atlabara East PS
Bill of Quantities
Installation, Constructionand rehabilitate of Rainwater Harvesting Facility at Lologo Community Primary School
S\No. | Item | Unit | Quantity | Unit rate (USD) | Amount (USD)
1 | Earth works
1.01 | Excavate a foundation trenches 0.3 m, Soakaway 1.0m depth, grease trap and removal of the top soil for the plateform and subsequently, in 10 cm layers with compaction including disposal of all surplus soil out of the site | Cu.m | 3 | 0 | 0
| Sub-total 1 |  |  |  | 0
2 | Construction works
2.01 | Construct 200 mm circular basement and perimeter for tapsand manholes wall in concrete solid standard blocks for the water storage in 1:3 cement mix ratio | Sq.m | 12 | 0 | 0
2.02 | Imported murrum (gravel) well spread levelled and compacted inside and surround the plateform . | Cu.m | 4 | 0 | 0
2.03 | Cast reinforce concrete slap of 70 cm thick on the top of the basement and the plateform considering concrete grad of M20 | Cu.m | 2 | 0 | 0
2.04 | 13mm thick cement sand (1:4) plastering including screeding mix with water proof cement. | Sq.m | 18 | 0 | 0
| Sub-total 2 |  |  |  | 0
3 | Supplies and Fixtures
3.01 | Supply and install a Vertical Plastic water tank of 5000 liters 5cm concrete basement connected with overflow, washout and outlet acesses | No | 1 | 0 | 0
3.02 | Supply and install gutters 6 inches with clips at a span of 75 cm conecting to the water storage | M | 20 | 0 | 0
3.03 | Supply and install a PVC pipe of 3inches connected as inlet to the storage tank while considering first flash out sytem and connect for waste water through a metallic floor trap to the grease trap and soakaway | M | 10 | 0 | 0
3.04 | Supply and install in the plateform four push cock water taps of 3/4 connect to the water storage tank using (HDPE flexible) PE 100 pipe OD63 PN10 wall thicks 3mm (1.0) as well considering overflow and washout access with control valve and replace the tap of the existing facilities | L-S | 1 | 0 | 0
| Sub-total 3 |  |  |  | 0
| Grand Total |  |  |  | 0
NB | Supply one set of the system 5000 liters
Revise the plumping of the avaialble system and replace the broken taps and valves

## Annex 2 Lologo PS
Bill of Quantities
Installation, Construction and rehabilitation of Rainwater Harvesting Facility at Lologo Community Primary School
S\No. | Item | Unit | Quantity | Unit rate (USD) | Amount (USD)
1 | Earth works
1.01 | Excavate a foundation trenches 0.3 m, Soakaway 1.0m depth, grease trap and removal of the top soil for the plateform and subsequently, in 10 cm layers with compaction including disposal of all surplus soil out of the site | Cu.m | 3 | 0 | 0
| Sub-total 1 |  |  |  | 0
2 | Construction works
2.01 | Construct 200 mm circular basement and perimeter for taps and manholes wall in concrete solid standard blocks for the water storage in 1:3 cement mix ratio | Sq.m | 12 | 0 | 0
2.02 | Imported murrum (gravel) well spread levelled and compacted inside and surround the plateform . | Cu.m | 4 | 0 | 0
2.03 | Cast reinforce concrete slap of 70 cm thick on the top of the basement and the plateform considering concrete grad of M20 | Cu.m | 2 | 0 | 0
2.04 | 13mm thick cement sand (1:4) plastering including screeding mix with water proof cement. | Sq.m | 18 | 0 | 0
| Sub-total 2 |  |  |  | 0
3 | Supplies and Fixtures
3.01 | Supply and install a Vertical Plastic water tank of 5000 liters 5cm concrete basement connected with overflow, washout and outlet acesses | No | 1 | 0 | 0
3.02 | Supply and install gutters 6 inches with clips at a span of 75 cm conecting to the water storage | M | 20 | 0 | 0
3.03 | Supply and install a PVC pipe of 3inches connected as inlet to the storage tank while considering first flash out sytem and connect for waste water through a metallic floor trap to the grease trap and soakaway | M | 10 | 0 | 0
3.04 | Supply and install in the plateform four push cock water taps of 3/4 connect to the water storage tank using (HDPE flexible) PE 100 pipe OD63 PN10 wall thicks 3mm (1.0) as well considering overflow and washout access with control valve and replace the tap of the existing facilities | L-S | 1 | 0 | 0
| Sub-total 3 |  |  |  | 0
| Grand Total |  |  |  | 0
N. B | Supply one set of the system 5000 liters
Revise the plumping of the avaialble system and replace the broken taps and valves

## Annex 2 Malakaia PS
Bill of Quantities
Rehabilitation of Rainwater Harvesting Facility at Malakia Primary School
S\No. | Item | Unit | Quantity | Unit rate (USD) | Amount (USD)
1 | Earth works
1.01 | Excavate a Soakaway 1.5 Cu.m, grease trap and channels | Cu.m | 2.5 | 0 | 0
| Sub-total 1 |  |  |  | 0
2 | Construction works
2.01 | Construct 200 mm circular basement and perimeter for taps and manholes wall in concrete solid standard blocks for the water storage in 1:3 cement mix ratio | Sq.m | 4 | 0 | 0
2.03 | Cast reinforce concrete slap of 70 cm thick on the top of the basement and the plateform considering concrete grad of M20 | Cu.m | 2 | 0 | 0
2.04 | 13mm thick cement sand (1:4) plastering including screeding mix with water proof cement. | Sq.m | 6 | 0 | 0
2.05 | Supply, nailed and painted a 9x1 facial to received gutters | M | 25 | 0 | 0
| Sub-total 2 |  |  |  | 0
3 | Supplies and Fixtures
3.02 | Supply and install gutters 6 inches with clips at a span of 75 cm conecting to the water storage | M | 25 | 0 | 0
3.03 | Supply and install a PVC pipe of 3inches connected as inlet to the two separate storage tanks while considering first flash out sytem and connect for waste water through a metallic floor trap to the grease trap and soakaway | M | 20 | 0 | 0
3.04 | Supply and install in the plateform four push cock water taps of 3/4 at both side of the existing wall structure connect to the water 2 storage tank using (HDPE flexible) PE 100 pipe OD63 PN10 wall thicks 3mm (1.0) as well considering overflow and washout access with control valve and replace the tap of the existing facilities | L-S | 1 | 0 | 0
| Sub-total 3 |  |  |  | 0
| Grand Total |  |  |  | 0
N.B | Rehabilitate the existing system, replace the gutter, taps , valves