**REQUEST FOR QUOTATION**

TO:

|  |  |  |  |
| --- | --- | --- | --- |
|  |  | **Date of issue:**  | 13/11/2023 |
|  | **File no.:** | 3562  |
|  | **Contract title:** | Supply, delivery and Installation of Rub Hall to NCA Malakal Upper Nile State |
|  | **Closing date:** | 30th /11/2023 Time: 10:00Am |
|  | **For further information, please contact the Contracting Authority:** | Norwegian Church Aid South Sudan ProgrammeContact person email for clarifications:  E-mail: Taban.Charles@nca.no  |
|  |  | **Please note that the Quotations may be delivered to the Contracting Authority at the above address in a sealed envelope clearly marked with the above File Number and the name of the submitting company.**  |

**norwegian church aid south sudan programme invites you to submit a quotation for the following**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Item** | **Description** | Unit | Quantity | **Required delivery place and date** |
| **1** | Supply, Delivery, and Installation of Rub Hall 32m x 10m x 5.5m IOM Standard with NCA LogKey Features DimensionsStandard size10 x 32 mTotal useable area320 m²Main floor320 m²Center height5.50 mWidth10.00 mRidge length32.0 mSide wall height3.30 mGable doors total size4.50 m x 4.00 mModular frameAluminium box profiles Hot dipped galvanized steel apex, base plates and other steel components | Each | 1 | Malakal, Upper Nile State **8/12/2023** |
| **2** | Delivery and installation to Malakal  | Lump sum  | 1 | Malakal, Upper Nile state  |

## Instructions

1. **Acknowledgement**

Upon receipt of the Request for Quotation please inform the Contracting Authority if you intend to submit a quotation. Please respond even if negative.

1. **General**

The goods to be purchased are for use by the Contracting Authority for its Emergency in Malakal Upper Nile State. Republic of South Sudan an intervention supported by Norwegian Government unrestricted funds; The supplier can submit a quotation for all as one lot.

1. **Cost of quotation**

The supplier shall bear all costs associated with the preparation and submission of his quotation and the Contracting Authority will in no case be responsible or liable for these costs, regardless of the conduct or outcome of the negotiated procedure.

1. **Eligibility and qualification requirements**

Suppliers are not eligible if they are in one of the situations listed in article 15 of the General Terms and Conditions for Supply Contracts.

In the Quotation Submission Form suppliers shall attest that they meet the above eligibility criteria. If required by the Contracting Authority, the supplier whose quotation is accepted shall further provide evidence satisfactory to the Contracting Authority of its eligibility through certificates issued by competent authorities in its country of establishment or operation or, if such certificates are not available, through a sworn statement.

Suppliers shall also be requested to certify that they comply with article 13. “Child Labour and Forced Labour” and article 14 “Mines” of the General Terms and Conditions for Supply Contracts and with the Code of Conduct for Contractors.

To give evidence of their capability and adequate resources Suppliers shall provide the information and the documents requested by the Contracting Authority.

1. **Exclusion from award of contracts**

Contracts may not be awarded to Candidates who, during this procedure:

1. are subject to conflict of interest:
2. are guilty of misrepresentation in supplying the information required by the Contracting Authority as a condition of participation in the Contract procedure or fail to supply this information.
3. **Documents comprising the Request for Quotation**

The Supplier shall complete and submit the following document with his quotation:

1. The attached Quotation Submission Form
2. Suppliers’ technical specifications
3. Copies of any registration certificates as required by national legislation or competent authorities including company registration certificates and membership certificates of any relevant professional bodies (Shall only be submitted if you have not delivered to the Contracting Authority before)
4. References that we may contact for further background information of your company. (Shall only be submitted if you have not delivered to the Contracting Authority before)
5. **Price**

The price quoted by the supplier shall not be subject to adjustments on any account except as otherwise provided in the conditions of the Contract.

Price shall be quoted in **USD.**

For evaluation purpose, where quotations are given in local currency, it shall be converted into USD at the rate published in Bank of South Sudan on the closing date.

1. **Validity**

Quotations shall remain valid and open for acceptance for 30 days after the closing date.

1. **Closing date**

Quotation must be received by the Contracting Authority as specified on page 1 not later than the closing date and time. Any quotations received after that will not be considered.

1. **Award of Contract and Criteria**

The Contracting Authority will award the Contract to the supplier whose quotation has been determined to be substantially responsive to this Request for Quotation (RFQ) and who has offered the lowest evaluated price, provided further that the supplier has the capability and resources to carry out the Contract effectively.

The Contracting Authority aims to purchase goods that minimise the environmental impact. Therefore, NCA reserves the right to choose a Supplier based on environmentally sustainable criteria such as packaging, life span, durability, availability of spare parts, recyclability, etc. over quotations that do not meet these standards.

The Contracting Authority reserves the right to accept all or part of your quotation, whichever is in its best financial interest.

1. **Signature and entry in to force of the Contract.**

Prior to the expiration of the period of the quotation validity, the Contracting Authority will notify the successful supplier in writing.

Within 5 days of receipt of the Contract, not yet signed by the Contracting Authority, the successful supplier must sign and date the Contract and return it, to the Contracting Authority. On signing the Contract, the successful supplier will become the Contractor and the Contract will enter into force once signed by the Contracting Authority.

If the successful supplier fails to sign and return the Contract and within the days stipulated, the Contracting Authority may consider the acceptance of the quotation to be cancelled without prejudice to the Contracting Authority's right to claim compensation or pursue any other remedy in respect of such failure, and the successful supplier will have no claim whatsoever on the Contracting Authority.

1. **Cancellation for convenience**

The Contracting Authority may for its own convenience and without charge or liability cancel the RFQ at any stage.

### Special conditions

1. **Scope of Supply**

The subject of the contract is the supply and delivery of the supplies described in the Price and Technical Data Form.

1. **Payment**

Payment will be made upon receipt of the following documents and within 30 days after receipt of goods:

1. Invoice (one original + two copies)
2. Proof of delivery Note / Goods Received (one original + two copies)

**QUOTATION SUBMISSION FORM**

**Price schedule (Price and currency to be inserted by supplier)**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Item**  | **Description** | **Unit** | **Qty** | **Currency (USD)** |
| **Unit Price**  | **Total Price**  |
| 1 | Supply, Delivery, and Installation of Rub Hall 32m x 10m x 5.5m IOM Standard with NCA Log | Each | 1 |  |  |
| 2 | Delivery and installation to Malakal Upper Nile State  | Lump sum | 1 |  |  |
|  | **Total price DDP (Incoterm 2020)** |  |

|  |  |
| --- | --- |
|  | **Information to be entered by supplier in the below columns**  |
| Please state name of Manufacturer |  |
|  |  |
| **Delivery date** |  |
| Delivery time to Point of shipment | days |
| Delivery time to destination  | days |
| **Technical specification** |  |
| Complete technical description is attached (Y/N) |  |
|  |  |
| **References** |  |
| A reference list is attached (shall only be submitted if supplier has not delivered to the Contracting Authority before) |  |
|  |  |
| **CSR information** |  |
| Does your company have CSR related policies in place – e.g. health and safety policy, HR policy, staff policy, energy policy, climate policy or is a member of Global Compact. Please state which policies. |  |
| Is your company e.g. ISO 26000/50001/14000 certified or SA8000 certified? Please state which.  |  |
| Does your company have a Code of Conduct? |  |

**Suppliers are requested to complete the following form.**

The following technical specifications are provided in the format of a checklist. They are compulsory as minimum standard and will be the only basis for the Contracting Authority to assess the technical compliance of the equipment presented in the quotations. Deviations from the specifications may be considered only if deemed to be in the best interest of the Contracting Authority.

Manufacturers’ names, catalogue numbers and model designations appearing in the list are for reference only. Quotations for other equipment that is equal in function, quality and performance to that listed will be given full consideration.

**technical data form**

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
|  | **Parameter** | **Characteristics (Contracting Authorities minimum requirement)** | **Comply (Y / N)**  | **Deviations, if any, to be described in this column** |
| **Item No.** | **Description** |  |  |  |
| 1 | Supply, Delivery, and Installation of Rub Hall 32m x 10m x 5.5m IOM Standard with NCA Log | Key Features DimensionsStandard size10 x 32 mTotal useable area320 m²Main floor320 m²Center height5.50 mWidth10.00 mRidge length32.0 mSide wall height3.30 mGable doors total size4.50 m x 4.00 mModular frameAluminium box profiles Hot dipped galvanized steel apex, base plates and other steel components Key Features DimensionsStandard size10 x 32 mTotal useable area320 m²Main floor320 m²Centre height5.50 mWidth10.00 mRidge length32.0 mSide wall height3.30 mGable doors total size4.50 m x 4.00 mModular frameAluminium box profiles Hot dipped galvanized steel apex, base plates, and other steel components |  |  |
| 2 | Delivery and installation | Delivery and installation in Malakal |  |  |

Any subsequent procurement related to this Quotation will be subject to the Contracting Authorities General Terms and Conditions for Supply Contracts and the Code of Conduct for Contractors available through the below link. Printed versions are available on request.

<https://www.kirkensnodhjelp.no/en/about-nca/for-contractors/>

After having read this Request for Quotation No.3562 on behalf of my company/business, I hereby:

* Accept, without restrictions, all the provisions in the Request for Quotation including General Terms and Conditions for Supply Contracts with annexes.
* Provided that a contract is issued by the Contracting Authority we hereby commit to furnish any or all items at the price offered and deliver same to the designated points within the delivery time stated above.
* Certify and attest that we meet the eligibility criteria stated in the Instructions.
* Certify and attest compliance with the Code of Conduct for Contractors.

This declaration will be confirmed in the Contract and misrepresentation will be regarded as grounds for termination.

Signature and stamp:

Signed by:

|  |  |
| --- | --- |
| **The Contractor** |  |
| Name of the company |  |
| Address  |  |
| Telephone no.  |  |
| E-mail: |  |
| Name of contact person |  |
| Date:  |  |